## 1. Observations
Date_Time | water_temperature | pH | Secchi_depth
2018-09-19 | 6 | 8.37 | 3.5
2019-07-02 | 16 | 7.87 | 4.75
2019-07-17 | 16.8 | 7.9 | 4.5
2019-08-13 | 20.4 | 7.9 | 4.75
2019-08-27 | 17 | 7.9 | 5.5
2019-09-17 | 17 | 8 | -
2019-10-03 | 11.9 | 7.7 | -
2020-07-05 | 14.3 | 7.6 | -
2020-07-19 | 16.9 | 8.2 | -
2020-08-03 | 18.6 | 8.16 | 1.5
2020-08-17 | 20 | 7.44 | -
2020-08-31 | 16 | 7.5 | -
2020-09-11 | 18.2 | 7.7 | -
2020-09-29 | 13.4 | 7.89 | -
2021-07-14 | 21.2 | 8.46 | -
2021-07-28 | 20.8 | 8.2 | -
2021-08-11 | 20 | 9.5 | -

## 2. Observations Metadata
Dataset Name | Lake Revelstoke at Downie Creek
Site ID | Lake Revelstoke at Downie Creek
Waterbody Type | Lake
Waterbody | Lake Revelstoke
Location/Site Name | Downie Creek
Location Latitude (decimal degrees) | 51.4634
Location Longitude (decimal degrees) | -118.4646
Location Coordinate System | WGS84
Location Elevation (masl) | 570
Measurement Interval | Monthly from July to September
Site Photos in Dataset | No
Photo Resource Name | N/A
Parameter 1 | water_temperature
Unit of Measurement | degrees Celsius
Instrument Type | Low range combination meter
Instrument Manufacturer | HANNA Instruments
Instrument Model | HI98129
Serial Number | N/A
Range | -5.0 to 60.0°C
Accuracy | ±0.5°C
Resolution | 0.1°C
Calibration Notes | N/A
Time Zone | MT
Notes on Methods | N/A
Parameter 2 | pH
Unit of Measurement | pH units
Instrument Type | Low range combination meter
Instrument Manufacturer | HANNA Instruments
Instrument Model | HI98129
Serial Number | N/A
Range | 0.00 to 14.00 pH
Accuracy | ±0.05 pH
Resolution | 0.01 pH
Calibration Notes | pH is calibrated weekly
Time Zone | MT
Notes on Methods | N/A
Parameter 3 | Secchi_depth
Unit of Measurement | metres
Instrument Type | Secchi disk
Instrument Manufacturer | N/A
Instrument Model | N/A
Serial Number | N/A
Range | N/A
Accuracy | N/A
Resolution | N/A
Calibration Notes | N/A
Time Zone | MT
Notes on Methods | Methodology consistent with Invasive Mussel Field Protocol prepared by the Ecosystems Branch, BC Ministry of Environment and Climate Change Strategy

## 2.b Definitions
| Definition | Format | Example
Dataset Name | A short self-explanatory title of your dataset (Multiple files in the same dataset will be displayed as a list on the Water Hub). | Text (0-512 characters) | Upper Athabasca Community Based Monitoring
Site ID | Unique name/code used to identify the monitoring site (assigned by monitoring organization). Max 35 characters. | Text (0-35 characters) | SAH-01
Waterbody Type | The type of waterbody the measurements were taken from | Text | Stream
Waterbody | Name of the waterbody where monitoring took place. | Text | Slocan Lake
Location/Site Name | Geographically descriptive name of the monitoring site. | Text (0-255 characters) | Slocan River at Passmore Bridge
Location Latitude | Latitude. Decimal 6-8 digits (ex. 51.048614). | Decimal degrees | 51.0486
Location Longitude | Longitude. Decimal 6-9 digits (ex. -114.070821). | Decimal degrees | -114.0708
Location Coordinate System | The datum that your latitude and longitude coordinates are based upon. Commonly used datum are NAD83 or NAD27. | Pick From List | WGS84
Elevation | The elevation of your monitoring location (metres above sea level) | Number | 800
Measurement Interval | The timescale that measurements are being taken, ex. hourly, every 8 hours, weekly, monthly | Text | Hourly
Site Photos in Dataset | Whether site photos will be included as a separate zipfile as part of the dataset this resource contains | Text | Yes
Photo Resource Name | Name of a zip file Resource that will contain photos relevant to this resource/site | Text | Monitoring Station Photos from Some Creek
Parameter | Type of measurement being taken. Must be expressed without spaces or symbols, use underscores as needed. | Text | Temperature
Unit of Measurement | Unit of measurement for the parameter referred to above. Do not include symbols. | Text | Degrees Celsius
Instrument Type | The general category of instrument being used | Test | Data Logger
Instrument Manufacturer | Manufacturer of instrument used to measure this parameter | Text | YSI
Instrument Model | Model of instrument used to measure this parameter | Text | 6050020 Pro20
Serial Number | Serial number of the instrument used to measure this parameter, if applicable | Text | 20413527
Accuracy | Accuracy of the instrument used to measure this parameter (can be found on manufacturer website), this must be entered in plain text without symbols | Text | Plus or Minus 2 Degrees Celsius
Range | Range of the instrument used to measure this parameter (can be found on manufacturer website) | Text | -5 to 70 degrees C (23 to 158 degrees F)
Calibration Notes: | If applicable: How is this instrument calibrated? How frequently is this performed? | Text | Calibrated monthly using a standard solution, a calibration log is available on request
Time Zone | The time zone used to record time of measurements, either local time at site, or the time zone that your instrument uses | Pick From List | PST
Notes on Methods: | Details regarding methods used to measure this parameter | Text | Temperature measurements were taken 30cm from water's edge at a depth of 10cm
Parameter Selection Choices
water_temperature
precipitation
discharge
flow
depth
gw_level
velocity
snow_depth
snow_water_equivalent
air_temperature
pH
turbidity
dissolved_oxygen
conductivity
total_dissolved_solids
total_suspended_solids
specific_conductivity
alkalinity
chlorine
clarity
hardness
water_clarity_secchi
water_hardness
atmospheric_pressure
Unit Choices
degrees Celsius
degrees Fahrenheit
metres
centimetres
metres3/second
metres/second
pH units
NTU
microSiemens per centimetre
micromhos per centimetre
mg/L
µg/L
parts per million
metres above sea level
metres below ground surface
mmHg
atm
Pa
hPa

## 3. Water Hub Metadata
Resource Level
Field Name | Description | Enter Data Here
Header Row | This is the row (in the first tab of this workbook) which CKAN will use to name the columns in your data's preview on the Water Hub. The row with your column labels. | 1
Resource Name (Required) | The name of this resource using the structure "Parameter (Date Range) Waterbody Site (Code) | Water Quality (2018-09-19 to 2021-08-11) Lake Revelstoke at Downie Creek
Citation (Required) | An example of how this resource could be cited. Creator (PublicationYear). Resource Name. Publisher. (Resource). Location. DOI | Columbia Shuswap Invasive Species Society (2021). Water Quality (2018-09-19 to 2021-08-11) Lake Revelstoke at Downie Creek. Columbia Basin Water Hub (Resource). Revelstoke, BC. (DOI)
Format (Required) | The format that the resource is uploaded in | XLSX
Description | Please provide a brief description of this resource. | Water temperature, pH and Secchi depth are measured as ancillary data for the CSISS aquatic invasive species monitoring program.
Resource Location | Location where the data in this resource was collected, could include information to identify the sampling site | Lake Revelstoke at Downie Creek RV site, shallow dock near boat launch in enclosed inlet
Data Collection Information | Provide any additional information about how data were collected such as sampling methods, equipment, calibration, QA/QC samples collected. | Temperature and pH are measured using a Hanna Industries pen meter (HI98129) within 2-4” of the surface. Secchi depths are collected where there is sufficient depth to measure from the sampling location. Data collection is consistent with the Invasive Mussel Field Protocol prepared by the Ecosystems Branch, BC Ministry of Environment and Climate Change Strategy.
Data Processing | Describe any data cleaning, processing and/or QA/QC that was done to the data. | N/A
Data Disclaimer | Provide any additional data disclaimer statements regarding the use of this resource | No warranty or guarantee exists that the information is accurate, complete, current, or suitable for any purpose. The individual user must confirm the accuracy of the data and whether it will be appropriate for their purpose.
Water Hub Certification of Person Uploading | State whether the person who is uploading this file has undergone the Water Hub Certification Training | Certified
Dataset Level
Category Name | Description | Enter Data Here
Dataset Name (Required) | Name of the dataset which the data is stored in. Include the waterbody, and site name/code if applicable. | Lake Revelstoke at Downie Creek
Abstract (Required) | A description of your dataset including purpose and nature of your monitoring efforts. You may want to include acknowledgements here as well (e.g. funders and other supporters of your work). | The Columbia Shsuswap Invasive Species Society (CSISS) collects plankton samples for several waterbodies in the Northern Columbia Basin which are tested for the presence of larval stages of invasive mussels and clams. Along with the plankton samples, ancillary data including surface pH, surface temperature and Secchi depth are measured. Data is collected from July to September, either every 2 weeks or every month (depending on the waterbody’s risk of infestation).
Data Upload Organization (Required) | Name of the organization or other parties responsible for uploading the data. | Columbia Shuswap Invasive Species Society
Visibility (Required) | This will determine whether this dataset is downloadable and previewable to the public. There are two choices here: Public and Private. If unsure we recommend you reach out to us | Public
Data Collection Organization (Required) | Name of the organization or other parties responsible for collecting the data. | Columbia Shuswap Invasive Species Society
Data Steward Email (Required) | The email address that will be publicly associated with this dataset. This should be an email address that people can use to get in contact if they have questions about using or understanding your data. | sdavies@columbiashuswapinvasives.ca
Citation (Required) | An example of how this resource could be cited. Creator (PublicationYear). Dataset Name. Publisher. (Dataset). Location. DOI | Columbia Shuswap Invasive Species Society (2021). Lake Revelstoke at Downie Creek. Columbia Basin Water Hub (Dataset). Revelstoke, BC. (DOI)
Dataset Upload Year | The year the resource was created. | 2021
Funding Description | Information about financial support (funding) for the resource being registered. | The Ministry of Environment supports this work through the Habitat Conservation Trust Foundation.
Data Disclaimer | Provide any additional data disclaimer statements regarding the use of this resource | No warranty or guarantee exists that the information is accurate, complete, current, or suitable for any purpose. The individual user must confirm the accuracy of the data and whether it will be appropriate for their purpose.
Other Data Sources | Any other sources that were used to prepare your data or incoroporated into this dataset | N/A
Location | A broad description of the area where data for this dataset was collected | Lake Revelstoke at Downie Creek
DOI | The Digital Object Identifier for this dataset. This field will be completed by Water Hub Staff.
Licensing & Attribution (Required) | Please choose from one of the following: Creative Commons Attribution-NonCommercial-ShareAlike 4.0 International (CC-BY-NC-SA-4.0) https://spdx.org/licenses/CC-BY-NC-SA-4.0.html Creative Commons Attribution Share-Alike International (CC-BY-SA-4.0) https://spdx.org/licenses/CC-BY-SA-4.0.html CC0 1.0 Universal (CC0 1.0) Public Domain Dedication (CC0 1.0) https://creativecommons.org/publicdomain/zero/1.0/ Open Government Licence - Canada (OGL-Canada-2.0) https://open.canada.ca/en/open-government-licence-canada. | CC-BY-SA-4.0
Data Type (required) | The type included here will dictate which Layer your dataset appears in on the map search. Choose ONE of the example groups that most closely represents your dataset. | Lake
Keywords | Keywords related to your dataset or program. Include the Water Hub Data Grades of all resources in the dataset here. Include as many keywords from the list as are applicable. Keywords not on the example list cannot be used, contact Water Hub team if you have a keyword suggestion. | Lake, Water Quality, Lentic, Water temperature
Latitude (required) | The latitude for the location that the map pin will appear on the Water Hub (decimal degrees) | 51.4634
Longitude (required) | The longitude for the location that the map pin will appear on the Water Hub (decimal degrees) | -118.4646

## 4. Changelog
Date of Modification | Description of Modification | Purpose | Name of Person Modifying