## 1. Observations
date_time | site_id | latitude | longitude | notes | water_temperature | water_temperature_units | pH | pH_units | specific_conductivity | specific_conductivity_units | turbidity | turbidity_units | conductivity | conductivity_units | temperature_at_analyis | temperature_at_analyis_units | water_hub_qa_qc
2017-12-02 | silverton_creek | 49.9528 | -117.3594 | n/a | 2.5 | degrees Celsius | 8.1 | pH units | 126 | microSiemens per centimetre | 0.39 | NTU | 95.8 | microSiemens per centimetre | 12.5 | Degrees Celsius | n/a
2017-12-18 | silverton_creek | 49.9528 | -117.3594 | n/a | 0.9 | degrees Celsius | 8.16 | pH units | 129.4 | microSiemens per centimetre | 0.35 | NTU | 96.6 | microSiemens per centimetre | 11.7 | Degrees Celsius | n/a
2017-12-31 | silverton_creek | 49.9528 | -117.3594 | n/a | 0.2 | degrees Celsius | 8.1 | pH units | 134.8 | microSiemens per centimetre | 0.84 | NTU | 102.3 | microSiemens per centimetre | 12.4 | Degrees Celsius | n/a
2018-01-16 | silverton_creek | 49.9528 | -117.3594 | n/a | 1.4 | degrees Celsius | 8.12 | pH units | 139.7 | microSiemens per centimetre | 0.77 | NTU | 106.4 | microSiemens per centimetre | 12.5 | Degrees Celsius | n/a
2018-01-29 | silverton_creek | 49.9528 | -117.3594 | n/a | 1.7 | degrees Celsius | 8.16 | pH units | 140.2 | microSiemens per centimetre | 0.39 | NTU | 105.4 | microSiemens per centimetre | 12 | Degrees Celsius | n/a
2018-02-11 | silverton_creek | 49.9528 | -117.3594 | Analysis | 1 | degrees Celsius | 8.12 | pH units | 160.3 | microSiemens per centimetre | 0.72 | NTU | 120.5 | microSiemens per centimetre | 12 | Degrees Celsius | n/a
2018-02-24 | silverton_creek | 49.9528 | -117.3594 | n/a | 0.8 | degrees Celsius | 8.01 | pH units | 151.8 | microSiemens per centimetre | 0.37 | NTU | 129 | microSiemens per centimetre | 17 | Degrees Celsius | n/a
2018-03-12 | silverton_creek | 49.9528 | -117.3594 | n/a | 2.7 | degrees Celsius | 7.93 | pH units | 159.1 | microSiemens per centimetre | 0.41 | NTU | 134 | microSiemens per centimetre | 16.7 | Degrees Celsius | n/a
2018-03-25 | silverton_creek | 49.9528 | -117.3594 | n/a | 3.1 | degrees Celsius | 7.97 | pH units | 184.4 | microSiemens per centimetre | 0.43 | NTU | 156.9 | microSiemens per centimetre | 17.2 | Degrees Celsius | n/a
2018-04-08 | silverton_creek | 49.9528 | -117.3594 | Water level slowly coming up | 5.1 | degrees Celsius | 7.97 | pH units | 191.1 | microSiemens per centimetre | 0.67 | NTU | 163.4 | microSiemens per centimetre | 17.4 | Degrees Celsius | n/a
2018-04-22 | silverton_creek | 49.9528 | -117.3594 | n/a | 6.1 | degrees Celsius | 8.03 | pH units | 206.2 | microSiemens per centimetre | 0.36 | NTU | 176.3 | microSiemens per centimetre | 17.4 | Degrees Celsius | n/a
2018-04-29 | silverton_creek | 49.9528 | -117.3594 | High water levels | 5.9 | degrees Celsius | 7.53 | pH units | 147.5 | microSiemens per centimetre | 4.39 | NTU | 126.2 | microSiemens per centimetre | 17.4 | Degrees Celsius | n/a
2018-05-07 | silverton_creek | 49.9528 | -117.3594 | n/a | 6.3 | degrees Celsius | 7.52 | pH units | 106.1 | microSiemens per centimetre | 5.78 | NTU | 90.8 | microSiemens per centimetre | 17.5 | Degrees Celsius | n/a
2018-05-15 | silverton_creek | 49.9528 | -117.3594 | Analysis | 7 | degrees Celsius | 7.6 | pH units | 76.3 | microSiemens per centimetre | 14.3 | NTU | 65.6 | microSiemens per centimetre | 17.5 | Degrees Celsius | n/a
2018-05-21 | silverton_creek | 49.9528 | -117.3594 | n/a | 6.2 | degrees Celsius | 7.62 | pH units | 70.1 | microSiemens per centimetre | 2.93 | NTU | 65.3 | microSiemens per centimetre | 21.4 | Degrees Celsius | n/a
2018-05-27 | silverton_creek | 49.9528 | -117.3594 | Water level slowly going down | 7.9 | degrees Celsius | 7.39 | pH units | 58.7 | microSiemens per centimetre | 3.46 | NTU | 54.3 | microSiemens per centimetre | 21.1 | Degrees Celsius | n/a
2018-06-03 | silverton_creek | 49.9528 | -117.3594 | n/a | 8.1 | degrees Celsius | 7.44 | pH units | 69.6 | microSiemens per centimetre | 1.09 | NTU | 64.5 | microSiemens per centimetre | 21.2 | Degrees Celsius | n/a
2018-06-10 | silverton_creek | 49.9528 | -117.3594 | n/a | 6.3 | degrees Celsius | 7.43 | pH units | 62.5 | microSiemens per centimetre | 0.83 | NTU | 57.6 | microSiemens per centimetre | 20.9 | Degrees Celsius | n/a
2018-06-23 | silverton_creek | 49.9528 | -117.3594 | n/a | 9.1 | degrees Celsius | 7.45 | pH units | 58.6 | microSiemens per centimetre | 0.97 | NTU | 54.3 | microSiemens per centimetre | 21.1 | Degrees Celsius | n/a
2018-07-01 | silverton_creek | 49.9528 | -117.3594 | Analysis - new pH electrode | 9.7 | degrees Celsius | 7.48 | pH units | 74.1 | microSiemens per centimetre | 0.74 | NTU | 68.9 | microSiemens per centimetre | 21.3 | Degrees Celsius | n/a
2018-07-09 | silverton_creek | 49.9528 | -117.3594 | n/a | 11.1 | degrees Celsius | 7.63 | pH units | 79.8 | microSiemens per centimetre | 0.23 | NTU | 70.9 | microSiemens per centimetre | 19.2 | Degrees Celsius | n/a
2018-07-22 | silverton_creek | 49.9528 | -117.3594 | n/a | 12.3 | degrees Celsius | 7.7 | pH units | 92.9 | microSiemens per centimetre | 0.31 | NTU | 83.1 | microSiemens per centimetre | 19.5 | Degrees Celsius | n/a
2018-08-05 | silverton_creek | 49.9528 | -117.3594 | n/a | 13.7 | degrees Celsius | 7.89 | pH units | 109.1 | microSiemens per centimetre | 0.22 | NTU | 97.4 | microSiemens per centimetre | 19.4 | Degrees Celsius | n/a
2018-08-19 | silverton_creek | 49.9528 | -117.3594 | n/a | 11.9 | degrees Celsius | 7.99 | pH units | 121.5 | microSiemens per centimetre | 0.3 | NTU | 102.1 | microSiemens per centimetre | 16.6 | Degrees Celsius | n/a
2018-09-02 | silverton_creek | 49.9528 | -117.3594 | n/a | 10.9 | degrees Celsius | 8.05 | pH units | 127.6 | microSiemens per centimetre | 0.49 | NTU | 94.4 | microSiemens per centimetre | 11.4 | Degrees Celsius | n/a
2018-09-16 | silverton_creek | 49.9528 | -117.3594 | n/a | 9.2 | degrees Celsius | 8.07 | pH units | 120.6 | microSiemens per centimetre | 0.35 | NTU | 88.1 | microSiemens per centimetre | 10.9 | Degrees Celsius | n/a
2018-09-30 | silverton_creek | 49.9528 | -117.3594 | n/a | 7.2 | degrees Celsius | 8.07 | pH units | 120.1 | microSiemens per centimetre | 0.62 | NTU | 87.1 | microSiemens per centimetre | 10.6 | Degrees Celsius | n/a
2018-10-14 | silverton_creek | 49.9528 | -117.3594 | n/a | 4.6 | degrees Celsius | 8.06 | pH units | 114.6 | microSiemens per centimetre | 0.38 | NTU | 83.3 | microSiemens per centimetre | 10.7 | Degrees Celsius | n/a
2018-10-28 | silverton_creek | 49.9528 | -117.3594 | n/a | 5.8 | degrees Celsius | 8.06 | pH units | 109.9 | microSiemens per centimetre | 0.39 | NTU | 80.6 | microSiemens per centimetre | 11.1 | Degrees Celsius | n/a
2018-11-04 | silverton_creek | 49.9528 | -117.3594 | n/a | 5.1 | degrees Celsius | 8.08 | pH units | 101.3 | microSiemens per centimetre | 0.58 | NTU | 74.7 | microSiemens per centimetre | 11.2 | Degrees Celsius | n/a
2018-11-11 | silverton_creek | 49.9528 | -117.3594 | n/a | 3.2 | degrees Celsius | 8.04 | pH units | 108.7 | microSiemens per centimetre | 0.35 | NTU | 79.8 | microSiemens per centimetre | 11.1 | Degrees Celsius | n/a
2018-11-24 | silverton_creek | 49.9528 | -117.3594 | n/a | 3.6 | degrees Celsius | 8.03 | pH units | 116.9 | microSiemens per centimetre | 0.41 | NTU | 85.8 | microSiemens per centimetre | 11.1 | Degrees Celsius | n/a
2018-12-09 | silverton_creek | 49.9528 | -117.3594 | Analysis | 0.8 | degrees Celsius | 8.03 | pH units | 121.6 | microSiemens per centimetre | 1.25 | NTU | 89.9 | microSiemens per centimetre | 11.4 | Degrees Celsius | n/a
2018-12-23 | silverton_creek | 49.9528 | -117.3594 | n/a | 1.6 | degrees Celsius | 8.17 | pH units | 131.7 | microSiemens per centimetre | 0.47 | NTU | 106.3 | microSiemens per centimetre | 15 | Degrees Celsius | n/a
2019-01-06 | silverton_creek | 49.9528 | -117.3594 | n/a | 2.8 | degrees Celsius | 8.15 | pH units | 128.2 | microSiemens per centimetre | 0.33 | NTU | 101.7 | microSiemens per centimetre | 14.3 | Degrees Celsius | n/a
2019-01-20 | silverton_creek | 49.9528 | -117.3594 | n/a | 2.7 | degrees Celsius | 8.16 | pH units | 139.1 | microSiemens per centimetre | 0.56 | NTU | 110.3 | microSiemens per centimetre | 14.3 | Degrees Celsius | n/a
2019-02-03 | silverton_creek | 49.9528 | -117.3594 | n/a | 1.9 | degrees Celsius | 8.13 | pH units | 142.1 | microSiemens per centimetre | 0.48 | NTU | 113.4 | microSiemens per centimetre | 14.4 | Degrees Celsius | n/a
2019-02-17 | silverton_creek | 49.9528 | -117.3594 | n/a | 1.8 | degrees Celsius | 8.14 | pH units | 71.3 | microSiemens per centimetre | 0.49 | NTU | 57.2 | microSiemens per centimetre | 14.7 | Degrees Celsius | n/a
2019-03-03 | silverton_creek | 49.9528 | -117.3594 | n/a | 0.6 | degrees Celsius | 8.13 | pH units | 147.9 | microSiemens per centimetre | 0.49 | NTU | 119.2 | microSiemens per centimetre | 15 | Degrees Celsius | n/a
2019-03-17 | silverton_creek | 49.9528 | -117.3594 | n/a | 2.8 | degrees Celsius | 8.14 | pH units | 149.1 | microSiemens per centimetre | 0.5 | NTU | 118.5 | microSiemens per centimetre | 14.3 | Degrees Celsius | n/a
2019-03-31 | silverton_creek | 49.9528 | -117.3594 | n/a | 4.4 | degrees Celsius | 8.1 | pH units | 159.3 | microSiemens per centimetre | 0.71 | NTU | 130.9 | microSiemens per centimetre | 15.7 | Degrees Celsius | n/a
2019-04-07 | silverton_creek | 49.9528 | -117.3594 | n/a | 4.7 | degrees Celsius | 8.14 | pH units | 149.3 | microSiemens per centimetre | 0.65 | NTU | 125.6 | microSiemens per centimetre | 16.6 | Degrees Celsius | n/a
2019-04-14 | silverton_creek | 49.9528 | -117.3594 | n/a | 5.6 | degrees Celsius | 8.14 | pH units | 150.3 | microSiemens per centimetre | 0.39 | NTU | 125.1 | microSiemens per centimetre | 16.2 | Degrees Celsius | n/a
2019-04-21 | silverton_creek | 49.9528 | -117.3594 | Analysis | 5.3 | degrees Celsius | 8.18 | pH units | 119.2 | microSiemens per centimetre | 0.49 | NTU | 98.2 | microSiemens per centimetre | 15.8 | Degrees Celsius | n/a
2019-04-28 | silverton_creek | 49.9528 | -117.3594 | n/a | 5.8 | degrees Celsius | 7.85 | pH units | 115.3 | microSiemens per centimetre | 2.96 | NTU | 104 | microSiemens per centimetre | 19.9 | Degrees Celsius | n/a
2019-05-05 | silverton_creek | 49.9528 | -117.3594 | n/a | 6.6 | degrees Celsius | 7.9 | pH units | 116.1 | microSiemens per centimetre | 0.35 | NTU | 104.8 | microSiemens per centimetre | 19.9 | Degrees Celsius | n/a
2019-05-12 | silverton_creek | 49.9528 | -117.3594 | n/a | 7.2 | degrees Celsius | 7.95 | pH units | 76.2 | microSiemens per centimetre | 1.6 | NTU | 68.8 | microSiemens per centimetre | 19.9 | Degrees Celsius | n/a
2019-05-19 | silverton_creek | 49.9528 | -117.3594 | n/a | 6.2 | degrees Celsius | 7.99 | pH units | 69.9 | microSiemens per centimetre | 0.73 | NTU | 63.1 | microSiemens per centimetre | 19.9 | Degrees Celsius | n/a
2019-05-26 | silverton_creek | 49.9528 | -117.3594 | n/a | 7.6 | degrees Celsius | 8 | pH units | 68.9 | microSiemens per centimetre | 0.22 | NTU | 62.3 | microSiemens per centimetre | 20 | Degrees Celsius | n/a
2019-06-02 | silverton_creek | 49.9528 | -117.3594 | n/a | 7.6 | degrees Celsius | 8.04 | pH units | 55.9 | microSiemens per centimetre | 0.54 | NTU | 50.7 | microSiemens per centimetre | 20.1 | Degrees Celsius | n/a
2019-06-09 | silverton_creek | 49.9528 | -117.3594 | Creek volume down | 9 | degrees Celsius | 7.96 | pH units | 73 | microSiemens per centimetre | 0.23 | NTU | 66.2 | microSiemens per centimetre | 20.2 | Degrees Celsius | n/a
2019-06-23 | silverton_creek | 49.9528 | -117.3594 | n/a | 10.1 | degrees Celsius | 7.96 | pH units | 78.7 | microSiemens per centimetre | 0.46 | NTU | 71.2 | microSiemens per centimetre | 20 | Degrees Celsius | n/a
2019-07-07 | silverton_creek | 49.9528 | -117.3594 | Thunderstorms: creek murky last Sun and earlier week but OK today, Other creeks weren't affected | 11.3 | degrees Celsius | 8 | pH units | 77.1 | microSiemens per centimetre | 0.24 | NTU | 69.9 | microSiemens per centimetre | 20.1 | Degrees Celsius | n/a
2019-07-21 | silverton_creek | 49.9528 | -117.3594 | n/a | 12.3 | degrees Celsius | 7.96 | pH units | 86.6 | microSiemens per centimetre | 0.21 | NTU | 78.6 | microSiemens per centimetre | 20.1 | Degrees Celsius | n/a
2019-08-04 | silverton_creek | 49.9528 | -117.3594 | Analysis | 13.1 | degrees Celsius | 7.94 | pH units | 99 | microSiemens per centimetre | 0.24 | NTU | 89.9 | microSiemens per centimetre | 20.2 | Degrees Celsius | n/a
2019-08-18 | silverton_creek | 49.9528 | -117.3594 | n/a | 12.2 | degrees Celsius | 8.09 | pH units | 97.3 | microSiemens per centimetre | 0.44 | NTU | 77.3 | microSiemens per centimetre | 14.2 | Degrees Celsius | n/a
2019-09-01 | silverton_creek | 49.9528 | -117.3594 | n/a | 13.5 | degrees Celsius | 8.13 | pH units | 123 | microSiemens per centimetre | 0.35 | NTU | 96.2 | microSiemens per centimetre | 13.6 | Degrees Celsius | n/a
2019-09-15 | silverton_creek | 49.9528 | -117.3594 | n/a | 10.5 | degrees Celsius | 8.15 | pH units | 72.2 | microSiemens per centimetre | 0.74 | NTU | 56.2 | microSiemens per centimetre | 13.4 | Degrees Celsius | n/a
2019-09-29 | silverton_creek | 49.9528 | -117.3594 | n/a | 5 | degrees Celsius | 8.18 | pH units | 88.5 | microSiemens per centimetre | 1.07 | NTU | 68.6 | microSiemens per centimetre | 13.2 | Degrees Celsius | n/a
2019-10-13 | silverton_creek | 49.9528 | -117.3594 | n/a | 4.3 | degrees Celsius | 8.12 | pH units | 101.4 | microSiemens per centimetre | 0.5 | NTU | 79.1 | microSiemens per centimetre | 13.5 | Degrees Celsius | n/a
2019-10-27 | silverton_creek | 49.9528 | -117.3594 | n/a | 2.8 | degrees Celsius | 8.1 | pH units | 87 | microSiemens per centimetre | 0.46 | NTU | 87 | microSiemens per centimetre | 13.5 | Degrees Celsius | n/a
2019-11-10 | silverton_creek | 49.9528 | -117.3594 | Analysis | 3.8 | degrees Celsius | 8.09 | pH units | 72.9 | microSiemens per centimetre | 0.7 | NTU | 72.9 | microSiemens per centimetre | 14 | Degrees Celsius | n/a
2019-11-24 | silverton_creek | 49.9528 | -117.3594 | Low water | 2.2 | degrees Celsius | 8.79 | pH units | 129 | microSiemens per centimetre | 0.71 | NTU | 102 | microSiemens per centimetre | 13.8 | Degrees Celsius | n/a
2019-12-08 | silverton_creek | 49.9528 | -117.3594 | n/a | 2.3 | degrees Celsius | 8.55 | pH units | 126.6 | microSiemens per centimetre | 0.35 | NTU | 97.4 | microSiemens per centimetre | 12.9 | Degrees Celsius | n/a
2019-12-22 | silverton_creek | 49.9528 | -117.3594 | n/a | 2.3 | degrees Celsius | 8.42 | pH units | 126.4 | microSiemens per centimetre | 0.67 | NTU | 95.7 | microSiemens per centimetre | 12.3 | Degrees Celsius | n/a
2020-01-05 | silverton_creek | 49.9528 | -117.3594 | n/a | 2.3 | degrees Celsius | 8.33 | pH units | 135.9 | microSiemens per centimetre | 0.41 | NTU | 102.9 | microSiemens per centimetre | 12.3 | Degrees Celsius | n/a
2020-01-19 | silverton_creek | 49.9528 | -117.3594 | n/a | 0.2 | degrees Celsius | 8.28 | pH units | 135.7 | microSiemens per centimetre | 1.17 | NTU | 102.8 | microSiemens per centimetre | 12.3 | Degrees Celsius | n/a
2020-02-02 | silverton_creek | 49.9528 | -117.3594 | n/a | 1.2 | degrees Celsius | 8.25 | pH units | 127.5 | microSiemens per centimetre | 0.76 | NTU | 96.9 | microSiemens per centimetre | 12.4 | Degrees Celsius | n/a
2020-02-16 | silverton_creek | 49.9528 | -117.3594 | Analysis | 2.4 | degrees Celsius | 8.17 | pH units | 147.3 | microSiemens per centimetre | 1.29 | NTU | 113.7 | microSiemens per centimetre | 13 | Degrees Celsius | n/a
2020-03-01 | silverton_creek | 49.9528 | -117.3594 | n/a | 2.9 | degrees Celsius | 8.48 | pH units | 165.3 | microSiemens per centimetre | 0.22 | NTU | 139.8 | microSiemens per centimetre | 16.9 | Degrees Celsius | n/a
2020-03-15 | silverton_creek | 49.9528 | -117.3594 | n/a | 0.2 | degrees Celsius | 8.19 | pH units | 164.5 | microSiemens per centimetre | 0.55 | NTU | 136 | microSiemens per centimetre | 15.9 | Degrees Celsius | n/a
2020-03-29 | silverton_creek | 49.9528 | -117.3594 | n/a | 4.2 | degrees Celsius | 8.09 | pH units | 174.3 | microSiemens per centimetre | 0.19 | NTU | 144.4 | microSiemens per centimetre | 16 | Degrees Celsius | n/a
2020-04-12 | silverton_creek | 49.9528 | -117.3594 | n/a | 3.9 | degrees Celsius | 7.99 | pH units | 195.7 | microSiemens per centimetre | 1.15 | NTU | 162.1 | microSiemens per centimetre | 16 | Degrees Celsius | n/a
2020-04-26 | silverton_creek | 49.9528 | -117.3594 | n/a | 6 | degrees Celsius | 8.02 | pH units | 160.8 | microSiemens per centimetre | 0.56 | NTU | 133.7 | microSiemens per centimetre | 16.2 | Degrees Celsius | n/a
2020-05-03 | silverton_creek | 49.9528 | -117.3594 | n/a | 5.4 | degrees Celsius | 8.05 | pH units | 132 | microSiemens per centimetre | 8.67 | NTU | 110.2 | microSiemens per centimetre | 16.4 | Degrees Celsius | n/a
2020-05-10 | silverton_creek | 49.9528 | -117.3594 | Start freshette | 6.4 | degrees Celsius | 8.06 | pH units | 118 | microSiemens per centimetre | 1.4 | NTU | 98.2 | microSiemens per centimetre | 16.2 | Degrees Celsius | n/a
2020-05-17 | silverton_creek | 49.9528 | -117.3594 | n/a | 5.6 | degrees Celsius | 8.11 | pH units | 94.5 | microSiemens per centimetre | 1.21 | NTU | 78.7 | microSiemens per centimetre | 16.2 | Degrees Celsius | n/a
2020-03-24 | silverton_creek | 49.9528 | -117.3594 | n/a | 6.6 | degrees Celsius | 8.12 | pH units | 84.1 | microSiemens per centimetre | 1.1 | NTU | 70.4 | microSiemens per centimetre | 16.5 | Degrees Celsius | n/a
2020-05-31 | silverton_creek | 49.9528 | -117.3594 | Warm rain and flooding with upstream washouts of logging road | 5.1 | degrees Celsius | 7.9 | pH units | 100.1 | microSiemens per centimetre | 1392 | NTU | 86.7 | microSiemens per centimetre | 17.9 | Degrees Celsius | Turbidity is at an unexpected high value
2020-06-07 | silverton_creek | 49.9528 | -117.3594 | n/a | 6.4 | degrees Celsius | 8.15 | pH units | 70.4 | microSiemens per centimetre | 1.97 | NTU | 60.1 | microSiemens per centimetre | 17.3 | Degrees Celsius | n/a
2020-06-14 | silverton_creek | 49.9528 | -117.3594 | Analysis | 7.2 | degrees Celsius | 8.19 | pH units | 62.6 | microSiemens per centimetre | 4.14 | NTU | 53.6 | microSiemens per centimetre | 17.5 | Degrees Celsius | n/a
2020-06-21 | silverton_creek | 49.9528 | -117.3594 | n/a | 8.8 | degrees Celsius | 8.36 | pH units | 65.5 | microSiemens per centimetre | 2.41 | NTU | 59.2 | microSiemens per centimetre | 20.1 | Degrees Celsius | n/a
2020-06-28 | silverton_creek | 49.9528 | -117.3594 | n/a | 8.7 | degrees Celsius | 8.34 | pH units | 31 | microSiemens per centimetre | 1.49 | NTU | 28.1 | microSiemens per centimetre | 20 | Degrees Celsius | n/a
2020-07-05 | silverton_creek | 49.9528 | -117.3594 | n/a | 9.2 | degrees Celsius | 8.24 | pH units | 35.3 | microSiemens per centimetre | 0.98 | NTU | 31.9 | microSiemens per centimetre | 19.9 | Degrees Celsius | n/a
2020-07-12 | silverton_creek | 49.9528 | -117.3594 | n/a | 10.3 | degrees Celsius | 8.2 | pH units | 76.7 | microSiemens per centimetre | 0.54 | NTU | 69.4 | microSiemens per centimetre | 19.9 | Degrees Celsius | n/a
2020-07-19 | silverton_creek | 49.9528 | -117.3594 | Analysis End of freshette | 11.8 | degrees Celsius | 8.16 | pH units | 84.7 | microSiemens per centimetre | 0.51 | NTU | 77 | microSiemens per centimetre | 20.2 | Degrees Celsius | n/a
2020-08-02 | silverton_creek | 49.9528 | -117.3594 | n/a | 14.8 | degrees Celsius | 8.12 | pH units | 63 | microSiemens per centimetre | 0.39 | NTU | 49.8 | microSiemens per centimetre | 13.8 | Degrees Celsius | n/a
2020-08-16 | silverton_creek | 49.9528 | -117.3594 | n/a | 13.1 | degrees Celsius | 8.08 | pH units | 111.8 | microSiemens per centimetre | 0.39 | NTU | 86.3 | microSiemens per centimetre | 12.9 | Degrees Celsius | n/a
2020-08-30 | silverton_creek | 49.9528 | -117.3594 | n/a | 10.3 | degrees Celsius | 8.05 | pH units | 78.6 | microSiemens per centimetre | 0.62 | NTU | 60.1 | microSiemens per centimetre | 12.6 | Degrees Celsius | n/a
2020-09-13 | silverton_creek | 49.9528 | -117.3594 | n/a | 10.6 | degrees Celsius | 7.86 | pH units | 208.7 | microSiemens per centimetre | 0.8 | NTU | 161.5 | microSiemens per centimetre | 13.2 | Degrees Celsius | n/a
2020-09-27 | silverton_creek | 49.9528 | -117.3594 | n/a | 7.7 | degrees Celsius | 8.1 | pH units | 114.2 | microSiemens per centimetre | 0.54 | NTU | 90.1 | microSiemens per centimetre | 14 | Degrees Celsius | n/a
2020-10-11 | silverton_creek | 49.9528 | -117.3594 | n/a | 7.4 | degrees Celsius | 8.08 | pH units | 96.1 | microSiemens per centimetre | 1.14 | NTU | 74.5 | microSiemens per centimetre | 13.2 | Degrees Celsius | n/a
2020-10-25 | silverton_creek | 49.9528 | -117.3594 | n/a | 0.8 | degrees Celsius | 8.05 | pH units | 122 | microSiemens per centimetre | 0.43 | NTU | 92.3 | microSiemens per centimetre | 12.3 | Degrees Celsius | n/a
2020-11-08 | silverton_creek | 49.9528 | -117.3594 | n/a | 2.1 | degrees Celsius | 8.16 | pH units | 96.3 | microSiemens per centimetre | 1.21 | NTU | 72.9 | microSiemens per centimetre | 12.2 | Degrees Celsius | n/a
2020-11-22 | silverton_creek | 49.9528 | -117.3594 | Analysis | 2.3 | degrees Celsius | 8.07 | pH units | 110.1 | microSiemens per centimetre | 0.67 | NTU | 85.1 | microSiemens per centimetre | 13.1 | Degrees Celsius | n/a

## 2. Metadata
Site ID | silverton_creek
Location/Site Name | Silverton Creek
Waterbody Type | Streams
Waterbody | Silverton Creek
Site Latitude (decimal degrees) | 49.9528
Site Longitude (decimal degrees) | -117.3594
Coordinate System | WGS84
Site Elevation (masl) | 548
Measurement Interval | bi-weekly
Site Notes | Dataset Name: Silverton Creek Water Quality Monitoring
Site Photos in Dataset | No
Photo Resource Name | N/A
Parameter 1 | water_temperature
Unit of Measurement | degrees Celsius
Instrument Type | Unknown
Instrument Manufacturer | Unavailable
Instrument Model | Unavailable
Serial Number | Unavailable
Range | Unavailable
Accuracy | Unavailable
Resolution | n/a
Calibration Notes | Unavailable
Time Zone | PT
Notes on Methods | in stream
Parameter 2 | pH
Unit of Measurement | pH units
Instrument Type | pH meter
Instrument Manufacturer | Oaktron
Instrument Model | pH 200
Serial Number | Unavailable
Range | 0.00 to 14.00 pH
Accuracy | ±0.01 pH
Resolution | n/a
Calibration Notes | Calibrated before each use
Time Zone | PT
Notes on Methods | bottle dip
Parameter 3 | specific_conductivity
Unit of Measurement | microSiemens per centimetre
Instrument Type | conductivity meter
Instrument Manufacturer | AMRE
Instrument Model | 2300
Serial Number | Unavailable
Range | Unavailable
Accuracy | Unavailable
Resolution | n/a
Calibration Notes | Conductivity Bridge calibrated annually using standard solution
Time Zone | PT
Notes on Methods | bottle dip
Parameter 4 | turbidity
Unit of Measurement | NTU
Instrument Type | Portable Turbidimeter
Instrument Manufacturer | Hach
Instrument Model | 2100Q
Serial Number | Unavailable
Range | 0-1000
Accuracy | ± 2 % of reading plus stray light
Resolution | n/a
Calibration Notes | Calibrated before each use
Time Zone | PT
Notes on Methods | bottle dip
Parameter 5 | conductivity
Unit of Measurement | microSiemens per centimetre
Instrument Type | Unknown
Instrument Manufacturer | unavailable
Instrument Model | unavailable
Serial Number | Unavailable
Range | Unavailable
Accuracy | Unavailable
Resolution | n/a
Calibration Notes | Calibrated before each use
Time Zone | PT
Notes on Methods | bottle dip
Parameter 6 | temperature_at_analyis
Unit of Measurement | Degrees Celsius
Instrument Type | Unknown
Instrument Manufacturer | Unavailable
Instrument Model | Unavailable
Serial Number | Unavailable
Range | Unavailable
Accuracy | Unavailable
Resolution | n/a
Calibration Notes | Calibrated before each use
Time Zone | PT
Notes on Methods | bottle dip
Parameter 7
Unit of Measurement
Instrument Type
Instrument Manufacturer
Instrument Model
Serial Number
Range
Accuracy
Resolution
Calibration Notes
Time Zone
Notes on Methods
Parameter 8
Unit of Measurement
Instrument Type
Instrument Manufacturer
Instrument Model
Serial Number
Range
Accuracy
Resolution
Calibration Notes
Time Zone
Notes on Methods
Parameter 9
Unit of Measurement
Instrument Type
Instrument Manufacturer
Instrument Model
Serial Number
Range
Accuracy
Resolution
Calibration Notes
Time Zone
Notes on Methods
Parameter 10
Unit of Measurement
Instrument Type
Instrument Manufacturer
Instrument Model
Serial Number
Range
Accuracy
Resolution
Calibration Notes
Time Zone
Notes on Methods
Parameter 11
Unit of Measurement
Instrument Type
Instrument Manufacturer
Instrument Model
Serial Number
Range
Accuracy
Resolution
Calibration Notes
Time Zone
Notes on Methods
Parameter 12
Unit of Measurement
Instrument Type
Instrument Manufacturer
Instrument Model
Serial Number
Range
Accuracy
Resolution
Calibration Notes
Time Zone
Notes on Methods

## 2.b Metadata Definitions
Metadata Definitions
| Definition | Format | Example
Site ID | Unique name/code used to identify the monitoring site (assigned by monitoring organization). | Text | SAH_01
Waterbody Type | The type of waterbody the measurements were taken from | Text | Stream
Waterbody | Name of the waterbody where monitoring took place. | Text | Slocan Lake
Location/Site Name | Geographically descriptive name of the monitoring site. | Text | Slocan River at Passmore Bridge
Location Latitude | Latitude. Decimal degrees. | Decimal degrees | 51.0486
Location Longitude | Longitude. Decimal degrees. | Decimal degrees | -114.0708
Location Coordinate System | The datum that your latitude and longitude coordinates are based upon. | Pick From List | WGS84
Elevation | The elevation of your monitoring location (metres above sea level) | Number | 800
Measurement Interval | The timescale that measurements are being taken, ex. hourly, every 8 hours, weekly, monthly | Text | Hourly
Site Photos in Dataset | Whether site photos will be included as a separate zipfile as part of the dataset this resource contains | Text | Yes
Photo Resource Name | Name of the Resource that will contain photos relevant to this resource/site | Text | Monitoring Station Photos from Some Creek
Parameter | Type of measurement being taken. Must be expressed without spaces or symbols, lower case, use underscores as needed. | Pick From List | Temperature
Unit of Measurement | Unit of measurement for the parameter referred to above. Do not include symbols. | Pick From List | Degrees Celsius
Instrument Type | The general category of instrument being used | Pick From List | Data Logger
Instrument Manufacturer | Manufacturer of instrument used to measure this parameter | Text | YSI
Instrument Model | Model of instrument used to measure this parameter | Text | 6050020 Pro20
Serial Number | Serial number of the instrument used to measure this parameter, if applicable | Text | 20413527
Accuracy | Accuracy of the instrument used to measure this parameter (can be found on manufacturer website), this must be entered in plain text without symbols | Text | Plus or minus 2 degrees C
Range | Range of the instrument used to measure this parameter (can be found on manufacturer website) | Text | -5 to 70 degrees C (23 to 158 degrees F)
Resolution | Resolution of the instrument used to measure this parameter (can be found on manufacturer website) | Text | 0.1 degrees C
Calibration Notes: | If applicable: How is this instrument calibrated? How frequently is this performed? | Text | Calibrated monthly using a standard solution, a calibration log is available on request
Time Zone | The time zone used to record time of measurements, either local time at site, or the time zone that your instrument uses | Pick From List | PST
Notes on Methods: | Details regarding methods used to measure this parameter | Text | Temperature measurements were taken 30cm from water's edge at a depth of 10cm
Measurement Intervals | Parameter Selection Choices | Unit Choices | Instrument Types | Time Zones | Coordinate Systems
Fifteen Minutes | air_temperature | atm | Analog Thermometer | GMT | WGS84
Thirty Minutes | alkalinity | centimetres | Bench Meter | GMT-6 | NAD27
Hourly | atmospheric_pressure | CFU per 100 mL | Climate Station | GMT-7 | NAD83
Four Hours | average_air_temperature | degrees Celsius | Data Logger | GMT-8 | AMSMA
Six Hours | average_water_temperature | degrees Fahrenheit | Observation | MDT | ASTRO
Twelve Hours | chlorine | hectopascal | Portable Meter | MST | GUAM
Daily | clarity | metres | Portable Multiparameter Meter | MT | HARN
Weekly | conductivity | metres above sea level | Rain Gauge | PDT | JHNSN
Biweekly | depth | metres below ground surface | Secchi Disk | PST | NAD27
Monthly | discharge | metres/second | Unknown | PT | NAD83
Single Point Measurement | dissolved_oxygen | metres3/second | N/A | UTC | OLDHI
As Needed | fecal_coliforms | milligrams per litre |  | UTC-6 | OTHER
Varied | hardness | micromhos per centimetre |  | UTC-7 | PR
| maximum_air_temperature | microSiemens per centimetre |  | UTC-8 | SGEOR
| maxiumum_water_temperature | mmHg |  | N/A | SLAWR
| minimum_air_temperature | most probable number per 100 mL |  | Unknown | SPAUL
| minimum_water_temperature | NTU |  |  | UNKWN
| pH | N/A |  |  | WAKE
| precipitation | observation |  |  | WGS72
| snow_density | Pa |  |  | WGS84
| snow_depth | parts per million |  |  | NAD83 / BC Albers
| snow_water_equivalent | pH units |  |  | NAD83/ UTM Zone 11
| specific_conductivity | µg/L |  |  | NAD83/ UTM Zone 12
| temperature_at_analyis | unknown
| total_coliforms | unknown |  |  | Not specified
total_dissolved_solids
total_suspended_solids
trophic_status
turbidity
velocity
water_clarity_secchi
water_hardness
water_level
water_temperature
Note on C3: @santiago@livinglakescanada.ca Are these character limitations from DataStream or the Hub? _Assigned to Santiago Botero_ -Paige Thurston

## 3. Changelog
Date of Modification | Description of Modification | Name of Person Modifying
2021-07-15 | Update metadata | PT
2022-03-12 | Upload to new template, QA/QC | VS