## 1. Observations
date_time | site_id | latitude | longitude | notes | water_temperature | water_temperature_units | pH | pH_units | water_clarity_secchi | water_clarity_secchi_units | water_hub_qa_qc
2019-06-18 | stmary1 | 49.6047 | -116.174 | n/a | 12.1 | degrees Celsius | 8.38 | pH units | 2.5 | metres | n/a
2019-06-18 | stmary2 | 49.6145 | -116.193 | n/a | n/a | degrees Celsius | n/a | pH units | 8.5 | metres | n/a
2019-06-18 | stmary3 | 49.6116 | -116.176 | n/a | n/a | degrees Celsius | n/a | pH units | 3 | metres | n/a
2019-07-24 12:03 | stmary_boatlaunch | 49.6065 | -116.171 | n/a | 13.8 | degrees Celsius | 7.4 | pH units | 2 | metres | n/a
2019-07-24 11:50 | mid_east | 49.6119 | -116.177 | n/a | 14.1 | degrees Celsius | 7.35 | pH units | 1 | metres | n/a
2019-07-24 11:36 | stmary2 | 49.6145 | -116.193 | labelled Windmill but latitude coordinate points to St. Mary 2, original longitude coordinates assumed error as not on St. Mary Lake | 13.6 | degrees Celsius | 7.03 | pH units | 4 | metres | n/a
2019-08-28 | stmary2 | 49.6145 | -116.193 | labelled Windmill but coordinates point to St. Mary 2 | 17.9 | degrees Celsius | 7.28 | pH units | 4 | metres | n/a
2019-08-29 | stmary_boatlaunch | 49.6065 | -116.171 | n/a | 16.7 | degrees Celsius | 7.53 | pH units | 2 | metres | n/a
2019-09-23 | stmary_boatlaunch | 49.6065 | -116.171 | n/a | 12 | degrees Celsius | 7.71 | pH units | 1.7 | metres | n/a
2019-09-23 | mid_east | 49.6119 | -116.177 | n/a | 11.7 | degrees Celsius | 7.44 | pH units | 1.4 | metres | n/a
2019-09-23 | stmary2 | 49.6145 | -116.193 | labelled Windmill but coordinates point to St. Mary 2 | 11.3 | degrees Celsius | 7.04 | pH units | 5.5 | metres | n/a
2020-06-12 | stmary_boatlaunch | 49.6065 | -116.171 | n/a | 9 | degrees Celsius | 7 | pH units | 1 | metres | n/a
2020-07-13 | stmary_boatlaunch | 49.6065 | -116.171 | n/a | 14.1 | degrees Celsius | 6.5 | pH units | 1 | metres | n/a
2020-08-19 | stmary_boatlaunch | 49.6065 | -116.171 | n/a | 20.3 | degrees Celsius | 7.1 | pH units | 1 | metres | n/a
2020-09-24 | stmary_boatlaunch | 49.6065 | -116.171 | n/a | 11.4 | degrees Celsius | 7.2 | pH units | 1 | metres | n/a
2021-06-16 | stmary_boatlaunch | 49.6065 | -116.171 | n/a | 9.6 | degrees Celsius | 7.6 | pH units | 1 | metres | n/a
2021-07-19 | stmary_boatlaunch | 49.6065 | -116.171 | n/a | 15.5 | degrees Celsius | 8.09 | pH units | 1 | metres | n/a
2021-08-18 | stmary_boatlaunch | 49.6065 | -116.171 | n/a | 18.5 | degrees Celsius | 8.13 | pH units | 1 | metres | n/a
2021-09-23 | stmary_boatlaunch | 49.6065 | -116.171 | n/a | 14.1 | degrees Celsius | 7.92 | pH units | 0.5 | metres | n/a

## 2. Metadata
Site ID | stmary_boatlaunch | stmary1 | stmary2 | stmary3 | mid_east
Location/Site Name | St. Mary Lake Boat Launch | St. Mary 1 | St. Mary 2 | St. Mary 3 | Mid East
Waterbody Type | Lakes | Lakes | Lakes | Lakes | Lakes
Waterbody | St. Mary Lake | St. Mary Lake | St. Mary Lake | St. Mary Lake | St. Mary Lake
Site Latitude (decimal degrees) | 49.6065 | 49.6047 | 49.6145 | 49.6116 | 49.6119
Site Longitude (decimal degrees) | -116.171 | -116.174 | -116.193 | -116.176 | -116.177
Coordinate System | UNKWN | UNKWN | UNKWN | UNKWN | UNKWN
Site Elevation (masl) | 976 | 976 | 976 | 976 | 976
Measurement Interval | n/a | n/a | n/a | n/a | n/a
Site Notes | n/a | n/a | n/a | n/a | n/a
Site Photos in Dataset | No
Photo Resource Name | N/A
Parameter 1 | water_temperature
Unit of Measurement | degrees Celsius
Instrument Type | pH Pen
Instrument Manufacturer | Hanna
Instrument Model | HI98127
Serial Number | Not specified
Range | -5.0 to 60.0°C
Accuracy | ±0.5°C
Resolution | 0.1°C
Calibration Notes | Not specified
Time Zone | MT
Notes on Methods | As per British Columbia Dreissenid Mussel Lake Monitoring Field Protocol
Parameter 2 | pH
Unit of Measurement | pH units
Instrument Type | pH Pen
Instrument Manufacturer | Hanna
Instrument Model | HI98127
Serial Number | Not specified
Range | -2.0 to 16.0 pH
Accuracy | ±0.1 pH
Resolution | 0.1 pH
Calibration Notes | Not specified
Time Zone | MT
Notes on Methods | As per British Columbia Dreissenid Mussel Lake Monitoring Field Protocol
Parameter 3 | water_clarity_secchi
Unit of Measurement | metres
Instrument Type | Secchi disk
Instrument Manufacturer | Not specified
Instrument Model | N/A
Serial Number | N/A
Range | N/A
Accuracy | N/A
Resolution | N/A
Calibration Notes | N/A
Time Zone | MT
Notes on Methods | As per British Columbia Dreissenid Mussel Lake Monitoring Field Protocol

## 2.b Metadata Definitions
Metadata Definitions
| Definition | Format | Example
Site ID | Unique name/code used to identify the monitoring site (assigned by monitoring organization). | Text | SAH_01
Waterbody Type | The type of waterbody the measurements were taken from | Text | Stream
Waterbody | Name of the waterbody where monitoring took place. | Text | Slocan Lake
Location/Site Name | Geographically descriptive name of the monitoring site. | Text | Slocan River at Passmore Bridge
Location Latitude | Latitude. Decimal degrees. | Decimal degrees | 51.0486
Location Longitude | Longitude. Decimal degrees. | Decimal degrees | -114.0708
Location Coordinate System | The datum that your latitude and longitude coordinates are based upon. | Pick From List | WGS84
Elevation | The elevation of your monitoring location (metres above sea level) | Number | 800
Measurement Interval | The timescale that measurements are being taken, ex. hourly, every 8 hours, weekly, monthly | Text | Hourly
Site Photos in Dataset | Whether site photos will be included as a separate zipfile as part of the dataset this resource contains | Text | Yes
Photo Resource Name | Name of the Resource that will contain photos relevant to this resource/site | Text | Monitoring Station Photos from Some Creek
Parameter | Type of measurement being taken. Must be expressed without spaces or symbols, lower case, use underscores as needed. | Pick From List | Temperature
Unit of Measurement | Unit of measurement for the parameter referred to above. Do not include symbols. | Pick From List | Degrees Celsius
Instrument Type | The general category of instrument being used | Pick From List | Data Logger
Instrument Manufacturer | Manufacturer of instrument used to measure this parameter | Text | YSI
Instrument Model | Model of instrument used to measure this parameter | Text | 6050020 Pro20
Serial Number | Serial number of the instrument used to measure this parameter, if applicable | Text | 20413527
Accuracy | Accuracy of the instrument used to measure this parameter (can be found on manufacturer website), this must be entered in plain text without symbols | Text | Plus or minus 2 degrees C
Range | Range of the instrument used to measure this parameter (can be found on manufacturer website) | Text | -5 to 70 degrees C (23 to 158 degrees F)
Resolution | Resolution of the instrument used to measure this parameter (can be found on manufacturer website) | Text | 0.1 degrees C
Calibration Notes: | If applicable: How is this instrument calibrated? How frequently is this performed? | Text | Calibrated monthly using a standard solution, a calibration log is available on request
Time Zone | The time zone used to record time of measurements, either local time at site, or the time zone that your instrument uses | Pick From List | PST
Notes on Methods: | Details regarding methods used to measure this parameter | Text | Temperature measurements were taken 30cm from water's edge at a depth of 10cm
Measurement Intervals | Parameter Selection Choices | Unit Choices | Instrument Types | Time Zones | Coordinate Systems
Fifteen Minutes | air_temperature | atm | Analog Thermometer | GMT | WGS84
Thirty Minutes | alkalinity | centimetres | Bench Meter | GMT-6 | NAD27
Hourly | atmospheric_pressure | CFU per 100 mL | Climate Station | GMT-7 | NAD83
Four Hours | average_air_temperature | degrees Celsius | Data Logger | GMT-8 | AMSMA
Six Hours | average_water_temperature | degrees Fahrenheit | Observation | MDT | ASTRO
Twelve Hours | chlorine | hectopascal | Portable Meter | MST | GUAM
Daily | clarity | metres | Portable Multiparameter Meter | MT | HARN
Weekly | conductivity | metres above sea level | Rain Gauge | PDT | JHNSN
Biweekly | depth | metres below ground surface | Secchi Disk | PST | NAD27
Monthly | discharge | metres/second | Unknown | PT | NAD83
Single Point Measurement | dissolved_oxygen | metres3/second | N/A | UTC | OLDHI
As Needed | fecal_coliforms | milligrams per litre |  | UTC-6 | OTHER
Varied | hardness | micromhos per centimetre |  | UTC-7 | PR
| maximum_air_temperature | microSiemens per centimetre |  | UTC-8 | SGEOR
| maxiumum_water_temperature | mmHg |  | N/A | SLAWR
| minimum_air_temperature | most probable number per 100 mL |  | Unknown | SPAUL
| minimum_water_temperature | NTU |  |  | UNKWN
| pH | N/A |  |  | WAKE
| precipitation | observation |  |  | WGS72
| snow_density | Pa |  |  | WGS84
| snow_depth | parts per million |  |  | NAD83 / BC Albers
| snow_water_equivalent | pH units |  |  | NAD83/ UTM Zone 11
| specific_conductivity | µg/L |  |  | NAD83/ UTM Zone 12
| total_coliforms | unknown |  |  | Not specified
total_dissolved_solids
total_suspended_solids
trophic_status
turbidity
velocity
water_clarity_secchi
water_hardness
water_level
water_temperature
Note on C3: @santiago@livinglakescanada.ca Are these character limitations from DataStream or the Hub? _Assigned to Santiago Botero_ -Paige Thurston

## 3. Changelog
Date of Modification | Description of Modification | Name of Person Modifying