## 1. Lab Results
datetime_sampled_yyyy-mm-dd_hh:mm:ss | date_analysed | site_ID | sampleid | analyte | analyte_speciation | method | unit_of_measurement | value_type | matrix | detection_limit | values | notes
2010-05-04 | not specified | NAHOR01 | Not specified | Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.005 | <0.005
2010-06-07 | not specified | NAHOR01 | Not specified | Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.005 | <0.005
2010-07-06 | not specified | NAHOR01 | Not specified | Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.005 | <0.005
2010-08-27 | not specified | NAHOR01 | Not specified | Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.005 | <0.005
2010-09-27 | not specified | NAHOR01 | Not specified | Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.005 | <0.005
2010-10-19 | not specified | NAHOR01 | Not specified | Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.005 | <0.005
2011-04-27 | not specified | NAHOR01 | Not specified | Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.005 | <0.005
2011-06-30 | not specified | NAHOR01 | Not specified | Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.005 | <0.005
2011-08-03 | not specified | NAHOR01 | Not specified | Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.005 | <0.005
2011-09-20 | not specified | NAHOR01 | Not specified | Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.005 | <0.005
2011-11-03 | not specified | NAHOR01 | Not specified | Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.005 | <0.005
2011-12-21 | not specified | NAHOR01 | Not specified | Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.005 | <0.005
2012-05-01 | not specified | NAHOR01 | Not specified | Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.005 | <0.005
2012-07-23 | not specified | NAHOR01 | Not specified | Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.005 | <0.005
2012-08-29 | not specified | NAHOR01 | Not specified | Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.005 | <0.0050
2012-10-18 | not specified | NAHOR01 | Not specified | Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.005 | <0.0050
2010-05-04 | not specified | NAHOR01 | Not specified | Nitrate | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.05
2010-06-07 | not specified | NAHOR01 | Not specified | Nitrate | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.05
2010-07-06 | not specified | NAHOR01 | Not specified | Nitrate | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.03
2010-08-27 | not specified | NAHOR01 | Not specified | Nitrate | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.03
2010-09-27 | not specified | NAHOR01 | Not specified | Nitrate | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.02
2010-10-19 | not specified | NAHOR01 | Not specified | Nitrate | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.04
2011-04-27 | not specified | NAHOR01 | Not specified | Nitrate | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | <0.02
2011-06-30 | not specified | NAHOR01 | Not specified | Nitrate | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.02
2011-08-03 | not specified | NAHOR01 | Not specified | Nitrate | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.04
2011-09-20 | not specified | NAHOR01 | Not specified | Nitrate | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.03
2011-11-03 | not specified | NAHOR01 | Not specified | Nitrate | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.05
2011-12-21 | not specified | NAHOR01 | Not specified | Nitrate | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.062
2012-05-01 | not specified | NAHOR01 | Not specified | Nitrate | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.079
2012-07-23 | not specified | NAHOR01 | Not specified | Nitrate | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.022
2012-08-29 | not specified | NAHOR01 | Not specified | Nitrate | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | <0.020
2012-10-18 | not specified | NAHOR01 | Not specified | Nitrate | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.024
2009-09-22 | not specified | NAHOR01 | Not specified | Alkalinity | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 190
2010-05-04 | not specified | NAHOR01 | Not specified | Alkalinity | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 160
2010-06-07 | not specified | NAHOR01 | Not specified | Alkalinity | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 160
2010-07-06 | not specified | NAHOR01 | Not specified | Alkalinity | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 180
2010-08-27 | not specified | NAHOR01 | Not specified | Alkalinity | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 180
2010-09-27 | not specified | NAHOR01 | Not specified | Alkalinity | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 180
2010-10-19 | not specified | NAHOR01 | Not specified | Alkalinity | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 180
2011-04-27 | not specified | NAHOR01 | Not specified | Alkalinity | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 190
2011-06-30 | not specified | NAHOR01 | Not specified | Alkalinity | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 120
2011-08-03 | not specified | NAHOR01 | Not specified | Alkalinity | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 150
2011-09-20 | not specified | NAHOR01 | Not specified | Alkalinity | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 170
2011-11-03 | not specified | NAHOR01 | Not specified | Alkalinity | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 172
2011-12-21 | not specified | NAHOR01 | Not specified | Alkalinity | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 180
2012-05-01 | not specified | NAHOR01 | Not specified | Alkalinity | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 174
2012-07-23 | not specified | NAHOR01 | Not specified | Alkalinity | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 132
2012-08-29 | not specified | NAHOR01 | Not specified | Alkalinity | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 179
2012-10-18 | not specified | NAHOR01 | Not specified | Alkalinity | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 207
2009-09-22 | not specified | NAHOR01 | Not specified | Alkalinity | Phenolphthalein (as CaCO3) | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2010-05-04 | not specified | NAHOR01 | Not specified | Alkalinity | Phenolphthalein (as CaCO3) | Sample analysed in lab | mg/L | actual | water | 0.5 | 0.8
2010-06-07 | not specified | NAHOR01 | Not specified | Alkalinity | Phenolphthalein (as CaCO3) | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2010-07-06 | not specified | NAHOR01 | Not specified | Alkalinity | Phenolphthalein (as CaCO3) | Sample analysed in lab | mg/L | actual | water | 0.5 | 2.8
2010-08-27 | not specified | NAHOR01 | Not specified | Alkalinity | Phenolphthalein (as CaCO3) | Sample analysed in lab | mg/L | actual | water | 0.5 | 2.8
2010-09-27 | not specified | NAHOR01 | Not specified | Alkalinity | Phenolphthalein (as CaCO3) | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2010-10-19 | not specified | NAHOR01 | Not specified | Alkalinity | Phenolphthalein (as CaCO3) | Sample analysed in lab | mg/L | actual | water | 0.5 | 1
2011-04-27 | not specified | NAHOR01 | Not specified | Alkalinity | Phenolphthalein (as CaCO3) | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2011-06-30 | not specified | NAHOR01 | Not specified | Alkalinity | Phenolphthalein (as CaCO3) | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2011-08-03 | not specified | NAHOR01 | Not specified | Alkalinity | Phenolphthalein (as CaCO3) | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2011-09-20 | not specified | NAHOR01 | Not specified | Alkalinity | Phenolphthalein (as CaCO3) | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2011-11-03 | not specified | NAHOR01 | Not specified | Alkalinity | Phenolphthalein (as CaCO3) | Sample analysed in lab | mg/L | actual | water | 0.5 | 2.3
2011-12-21 | not specified | NAHOR01 | Not specified | Alkalinity | Phenolphthalein (as CaCO3) | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.50
2012-05-01 | not specified | NAHOR01 | Not specified | Alkalinity | Phenolphthalein (as CaCO3) | Sample analysed in lab | mg/L | actual | water | 0.5 | 2.76
2012-07-23 | not specified | NAHOR01 | Not specified | Alkalinity | Phenolphthalein (as CaCO3) | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.50
2012-08-29 | not specified | NAHOR01 | Not specified | Alkalinity | Phenolphthalein (as CaCO3) | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.50
2012-10-18 | not specified | NAHOR01 | Not specified | Alkalinity | Phenolphthalein (as CaCO3) | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.50
2009-09-22 | not specified | NAHOR01 | Not specified | Bicarbonate | HCO3 | Sample analysed in lab | mg/L | actual | water | not specified | 230
2010-05-04 | not specified | NAHOR01 | Not specified | Bicarbonate | HCO3 | Sample analysed in lab | mg/L | actual | water | not specified | 190
2010-06-07 | not specified | NAHOR01 | Not specified | Bicarbonate | HCO3 | Sample analysed in lab | mg/L | actual | water | not specified | 190
2010-07-06 | not specified | NAHOR01 | Not specified | Bicarbonate | HCO3 | Sample analysed in lab | mg/L | actual | water | not specified | 210
2010-08-27 | not specified | NAHOR01 | Not specified | Bicarbonate | HCO3 | Sample analysed in lab | mg/L | actual | water | not specified | 210
2010-09-27 | not specified | NAHOR01 | Not specified | Bicarbonate | HCO3 | Sample analysed in lab | mg/L | actual | water | not specified | 220
2010-10-19 | not specified | NAHOR01 | Not specified | Bicarbonate | HCO3 | Sample analysed in lab | mg/L | actual | water | not specified | 220
2011-04-27 | not specified | NAHOR01 | Not specified | Bicarbonate | HCO3 | Sample analysed in lab | mg/L | actual | water | not specified | 230
2011-06-30 | not specified | NAHOR01 | Not specified | Bicarbonate | HCO3 | Sample analysed in lab | mg/L | actual | water | not specified | 150
2011-08-03 | not specified | NAHOR01 | Not specified | Bicarbonate | HCO3 | Sample analysed in lab | mg/L | actual | water | not specified | 190
2011-09-20 | not specified | NAHOR01 | Not specified | Bicarbonate | HCO3 | Sample analysed in lab | mg/L | actual | water | not specified | 210
2011-11-03 | not specified | NAHOR01 | Not specified | Bicarbonate | HCO3 | Sample analysed in lab | mg/L | actual | water | not specified | 205
2011-12-21 | not specified | NAHOR01 | Not specified | Bicarbonate | HCO3 | Sample analysed in lab | mg/L | actual | water | not specified | 220
2012-05-01 | not specified | NAHOR01 | Not specified | Bicarbonate | HCO3 | Sample analysed in lab | mg/L | actual | water | not specified | 206
2012-07-23 | not specified | NAHOR01 | Not specified | Bicarbonate | HCO3 | Sample analysed in lab | mg/L | actual | water | not specified | 161
2012-08-29 | not specified | NAHOR01 | Not specified | Bicarbonate | HCO3 | Sample analysed in lab | mg/L | actual | water | not specified | 218
2012-10-18 | not specified | NAHOR01 | Not specified | Bicarbonate | HCO3 | Sample analysed in lab | mg/L | actual | water | not specified | 253
2009-09-22 | not specified | NAHOR01 | Not specified | Carbonate | CO3 | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2010-05-04 | not specified | NAHOR01 | Not specified | Carbonate | CO3 | Sample analysed in lab | mg/L | actual | water | 0.5 | 1
2010-06-07 | not specified | NAHOR01 | Not specified | Carbonate | CO3 | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2010-07-06 | not specified | NAHOR01 | Not specified | Carbonate | CO3 | Sample analysed in lab | mg/L | actual | water | 0.5 | 3.4
2010-08-27 | not specified | NAHOR01 | Not specified | Carbonate | CO3 | Sample analysed in lab | mg/L | actual | water | 0.5 | 3.4
2010-09-27 | not specified | NAHOR01 | Not specified | Carbonate | CO3 | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2010-10-19 | not specified | NAHOR01 | Not specified | Carbonate | CO3 | Sample analysed in lab | mg/L | actual | water | 0.5 | 1.1
2011-04-27 | not specified | NAHOR01 | Not specified | Carbonate | CO3 | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2011-06-30 | not specified | NAHOR01 | Not specified | Carbonate | CO3 | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2011-08-03 | not specified | NAHOR01 | Not specified | Carbonate | CO3 | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2011-09-20 | not specified | NAHOR01 | Not specified | Carbonate | CO3 | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2011-11-03 | not specified | NAHOR01 | Not specified | Carbonate | CO3 | Sample analysed in lab | mg/L | actual | water | 0.5 | 2.7
2011-12-21 | not specified | NAHOR01 | Not specified | Carbonate | CO3 | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.50
2012-05-01 | not specified | NAHOR01 | Not specified | Carbonate | CO3 | Sample analysed in lab | mg/L | actual | water | 0.5 | 3.31
2012-07-23 | not specified | NAHOR01 | Not specified | Carbonate | CO3 | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.50
2012-08-29 | not specified | NAHOR01 | Not specified | Carbonate | CO3 | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.50
2012-10-18 | not specified | NAHOR01 | Not specified | Carbonate | CO3 | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.50
2009-09-22 | not specified | NAHOR01 | Not specified | Hydroxide | OH | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2010-05-04 | not specified | NAHOR01 | Not specified | Hydroxide | OH | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2010-06-07 | not specified | NAHOR01 | Not specified | Hydroxide | OH | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2010-07-06 | not specified | NAHOR01 | Not specified | Hydroxide | OH | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2010-08-27 | not specified | NAHOR01 | Not specified | Hydroxide | OH | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2010-09-27 | not specified | NAHOR01 | Not specified | Hydroxide | OH | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2010-10-19 | not specified | NAHOR01 | Not specified | Hydroxide | OH | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2011-04-27 | not specified | NAHOR01 | Not specified | Hydroxide | OH | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2011-06-30 | not specified | NAHOR01 | Not specified | Hydroxide | OH | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2011-08-03 | not specified | NAHOR01 | Not specified | Hydroxide | OH | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2011-09-20 | not specified | NAHOR01 | Not specified | Hydroxide | OH | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2011-11-03 | not specified | NAHOR01 | Not specified | Hydroxide | OH | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.5
2011-12-21 | not specified | NAHOR01 | Not specified | Hydroxide | OH | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.50
2012-05-01 | not specified | NAHOR01 | Not specified | Hydroxide | OH | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.50
2012-07-23 | not specified | NAHOR01 | Not specified | Hydroxide | OH | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.50
2012-08-29 | not specified | NAHOR01 | Not specified | Hydroxide | OH | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.50
2012-10-18 | not specified | NAHOR01 | Not specified | Hydroxide | OH | Sample analysed in lab | mg/L | actual | water | 0.5 | <0.50
2010-05-04 | not specified | NAHOR01 | Not specified | Phosphate | Ortho- (as P) | Sample analysed in lab | µg/L | actual | water | Not specified | <0.005
2010-06-07 | not specified | NAHOR01 | Not specified | Phosphate | Ortho- (as P) | Sample analysed in lab | µg/L | actual | water | Not specified | <5
2010-07-06 | not specified | NAHOR01 | Not specified | Phosphate | Ortho- (as P) | Sample analysed in lab | µg/L | actual | water | Not specified | <5
2010-08-27 | not specified | NAHOR01 | Not specified | Phosphate | Ortho- (as P) | Sample analysed in lab | µg/L | actual | water | Not specified | <5
2010-09-27 | not specified | NAHOR01 | Not specified | Phosphate | Ortho- (as P) | Sample analysed in lab | µg/L | actual | water | Not specified | 8
2010-10-19 | not specified | NAHOR01 | Not specified | Phosphate | Ortho- (as P) | Sample analysed in lab | µg/L | actual | water | Not specified | <5
2011-04-27 | not specified | NAHOR01 | Not specified | Phosphate | Ortho- (as P) | Sample analysed in lab | µg/L | actual | water | Not specified | <5
2011-06-30 | not specified | NAHOR01 | Not specified | Phosphate | Ortho- (as P) | Sample analysed in lab | µg/L | actual | water | Not specified | <5
2011-08-03 | not specified | NAHOR01 | Not specified | Phosphate | Ortho- (as P) | Sample analysed in lab | µg/L | actual | water | Not specified | <5
2011-09-20 | not specified | NAHOR01 | Not specified | Phosphate | Ortho- (as P) | Sample analysed in lab | µg/L | actual | water | Not specified | 6
2011-11-03 | not specified | NAHOR01 | Not specified | Phosphate | Ortho- (as P) | Sample analysed in lab | µg/L | actual | water | Not specified | <5
2011-12-21 | not specified | NAHOR01 | Not specified | Phosphate | Ortho- (as P) | Sample analysed in lab | µg/L | actual | water | Not specified | <5
2012-05-01 | not specified | NAHOR01 | Not specified | Phosphate | Ortho- (as P) | Sample analysed in lab | µg/L | actual | water | Not specified | <5
2012-07-23 | not specified | NAHOR01 | Not specified | Phosphate | Ortho- (as P) | Sample analysed in lab | µg/L | actual | water | Not specified | <5
2012-08-29 | not specified | NAHOR01 | Not specified | Phosphate | Ortho- (as P) | Sample analysed in lab | µg/L | actual | water | Not specified | <5
2012-10-18 | not specified | NAHOR01 | Not specified | Phosphate | Ortho- (as P) | Sample analysed in lab | µg/L | actual | water | Not specified | <5
2010-05-04 | not specified | NAHOR01 | Not specified | Nitrate+Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.05
2010-06-07 | not specified | NAHOR01 | Not specified | Nitrate+Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.05
2010-07-06 | not specified | NAHOR01 | Not specified | Nitrate+Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.03
2010-08-27 | not specified | NAHOR01 | Not specified | Nitrate+Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.03
2010-09-27 | not specified | NAHOR01 | Not specified | Nitrate+Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.02
2010-10-19 | not specified | NAHOR01 | Not specified | Nitrate+Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.04
2011-04-27 | not specified | NAHOR01 | Not specified | Nitrate+Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | <0.02
2011-06-30 | not specified | NAHOR01 | Not specified | Nitrate+Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.02
2011-08-03 | not specified | NAHOR01 | Not specified | Nitrate+Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.04
2011-09-20 | not specified | NAHOR01 | Not specified | Nitrate+Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.03
2011-11-03 | not specified | NAHOR01 | Not specified | Nitrate+Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.05
2011-12-21 | not specified | NAHOR01 | Not specified | Nitrate+Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.062
2012-05-01 | not specified | NAHOR01 | Not specified | Nitrate+Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.079
2012-07-23 | not specified | NAHOR01 | Not specified | Nitrate+Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.022
2012-08-29 | not specified | NAHOR01 | Not specified | Nitrate+Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | <0.020
2012-10-18 | not specified | NAHOR01 | Not specified | Nitrate+Nitrite | as N | Sample analysed in lab | mg/L | actual | water | 0.02 | 0.024
2009-09-22 | 2009-09-22 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 9.7
2010-05-04 | 2010-05-04 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 13
2010-06-07 | 2010-06-07 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 12
2010-06-07 | 2010-06-07 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 12
2010-07-06 | 2010-07-06 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 8
2010-08-27 | 2010-08-27 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 8
2010-09-27 | 2010-09-27 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 6
2010-10-19 | 2010-10-19 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 11
2011-04-27 | 2011-04-27 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 10
2011-06-30 | 2011-06-30 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 11
2011-08-03 | 2011-08-03 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 8
2011-09-20 | 2011-09-20 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 7
2011-11-03 | 2011-11-03 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 7
2011-12-21 | 2011-12-21 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 8
2012-05-01 | 2012-05-01 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 12
2012-07-23 | 2012-07-23 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 11
2012-08-29 | 2012-08-29 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 9
2012-10-18 | 2012-10-18 | NAHOR01 | Not specified | Oxygen | Dissolved | In situ | mg/L | actual | water | not specified | 11
2010-05-04 | 2010-05-04 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 277.7
2010-06-07 | 2010-06-07 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 325
2010-06-07 | 2010-06-07 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 326.4
2010-06-07 | 2010-06-07 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 291.3
2010-07-06 | 2010-07-06 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 397.4
2010-08-27 | 2010-08-27 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 397.4
2010-09-27 | 2010-09-27 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 401.9
2010-10-19 | 2010-10-19 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 408.5
2011-04-27 | 2011-04-27 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 422.8
2011-06-30 | 2011-06-30 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 279.8
2011-08-03 | 2011-08-03 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 358
2011-09-20 | 2011-09-20 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 378
2011-09-20 | 2011-09-20 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 384.2
2011-11-03 | 2011-11-03 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 392.3
2011-12-21 | 2011-12-21 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 220.2
2012-05-01 | 2012-05-01 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 382.3
2012-07-23 | 2012-07-23 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 313.8
2012-08-29 | 2012-08-29 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 394.4
2012-10-18 | 2012-10-18 | NAHOR01 | Not specified | specific conductivity | N/A | In situ | mg/L | actual | water | not specified | 423.3
2009-09-22 | 2009-09-22 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8.3
2010-05-04 | 2010-05-04 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8.49
2010-06-07 | 2010-06-07 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8.3
2010-06-07 | 2010-06-07 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8.69
2010-06-07 | 2010-06-07 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8.64
2010-07-06 | 2010-07-06 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8.39
2010-08-27 | 2010-08-27 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8.39
2010-09-27 | 2010-09-27 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8.19
2010-10-19 | 2010-10-19 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8.45
2011-04-27 | 2011-04-27 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8.26
2011-06-30 | 2011-06-30 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8.51
2011-08-03 | 2011-08-03 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8.45
2011-09-20 | 2011-09-20 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8.25
2011-09-20 | 2011-09-20 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8.54
2011-11-03 | 2011-11-03 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8.42
2011-12-21 | 2011-12-21 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8.35
2012-05-01 | 2012-05-01 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 9.2
2012-07-23 | 2012-07-23 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 9.6
2012-08-29 | 2012-08-29 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8.93
2012-10-18 | 2012-10-18 | NAHOR01 | Not specified | pH | N/A | In situ | pH units | actual | water | not specified | 8
2009-09-22 | 2009-09-22 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 0
2010-05-04 | 2010-05-04 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 2.9
2010-06-07 | 2010-06-07 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 10.7
2010-06-07 | 2010-06-07 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 9.92
2010-06-07 | 2010-06-07 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 9.7
2010-07-06 | 2010-07-06 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 8.6
2010-08-27 | 2010-08-27 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 8.6
2010-09-27 | 2010-09-27 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 1.03
2010-10-19 | 2010-10-19 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 0.76
2011-04-27 | 2011-04-27 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 1.27
2011-06-30 | 2011-06-30 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 2.54
2011-08-03 | 2011-08-03 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 2.66
2011-09-20 | 2011-09-20 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 0.6
2011-09-20 | 2011-09-20 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 2.54
2011-11-03 | 2011-11-03 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 1.1
2011-12-21 | 2011-12-21 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 5.9
2012-05-01 | 2012-05-01 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 9.57
2012-07-23 | 2012-07-23 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 6.15
2012-08-29 | 2012-08-29 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 0.61
2012-10-18 | 2012-10-18 | NAHOR01 | Not specified | Turbidity | N/A | In situ | NTU | actual | water | not specified | 0.85
2009-09-22 | 2009-09-22 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 12.4
2010-05-04 | 2010-05-04 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 9.7
2010-06-07 | 2010-06-07 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 7.3
2010-06-07 | 2010-06-07 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 8.6
2010-07-06 | 2010-07-06 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 12.6
2010-08-27 | 2010-08-27 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 12.6
2010-09-27 | 2010-09-27 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 9.5
2010-10-19 | 2010-10-19 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 6.8
2011-04-27 | 2011-04-27 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 6.9
2011-06-30 | 2011-06-30 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 9
2011-08-03 | 2011-08-03 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 12.5
2011-09-20 | 2011-09-20 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 7.2
2011-11-03 | 2011-11-03 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 1.5
2011-12-21 | 2011-12-21 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 1.3
2012-05-01 | 2012-05-01 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 4.7
2012-07-23 | 2012-07-23 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 11
2012-08-29 | 2012-08-29 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 14
2012-10-18 | 2012-10-18 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | water | not specified | 5.8
2009-09-22 | 2009-09-22 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 13.1
2010-05-04 | 2010-05-04 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 12.7
2010-06-07 | 2010-06-07 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 14.5
2010-06-07 | 2010-06-07 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 18.8
2010-07-06 | 2010-07-06 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 15
2010-08-27 | 2010-08-27 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 15
2010-09-27 | 2010-09-27 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 10.1
2010-10-19 | 2010-10-19 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 12
2011-04-27 | 2011-04-27 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 14
2011-06-30 | 2011-06-30 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 13
2011-08-03 | 2011-08-03 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 22
2011-09-20 | 2011-09-20 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 5.9
2011-11-03 | 2011-11-03 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 2.2
2011-12-21 | 2011-12-21 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 4.2
2012-05-01 | 2012-05-01 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 9
2012-07-23 | 2012-07-23 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 17
2012-08-29 | 2012-08-29 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 15
2012-10-18 | 2012-10-18 | NAHOR01 | Not specified | Temperature | N/A | In situ | Degrees Celsius | actual | air | not specified | 6
2009-09-22 | not specified | NAHOR01 | Not specified | Hardness | Total (as CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 241
2009-09-22 | not specified | NAHOR01 | Not specified | Hardness | Dissolved (CaCO3) | Sample analysed in lab | mg/L | actual | water | not specified | 225
2009-09-22 | not specified | NAHOR01 | Not specified | Nitrogen | Total | Sample analysed in lab | mg/L | actual | water | not specified | 0.07
2009-09-22 | not specified | NAHOR01 | Not specified | Phosphorus | Total | Sample analysed in lab | µg/L | actual | water | 5 | <5
2009-09-22 | not specified | NAHOR01 | Not specified | Conductivity | Specific conductance | Sample analysed in lab | uS/cm | actual | water | not specified | 412
2009-09-22 | not specified | NAHOR01 | Not specified | Solids | Total Suspended | Sample analysed in lab | mg/L | actual | water | 4 | <4
2009-09-22 | not specified | NAHOR01 | Not specified | Calcium | Dissolved | Sample analysed in lab | mg/L | actual | water | not specified | 54
2009-09-22 | not specified | NAHOR01 | Not specified | Magnesium | Dissolved | Sample analysed in lab | mg/L | actual | water | not specified | 21.8
2009-09-22 | not specified | NAHOR01 | Not specified | Aluminum | Total | Sample analysed in lab | µg/L | actual | water | not specified | 8
2009-09-22 | not specified | NAHOR01 | Not specified | Antimony | Total | Sample analysed in lab | µg/L | actual | water | 0.5 | <0.5
2009-09-22 | not specified | NAHOR01 | Not specified | Arsenic | Total | Sample analysed in lab | µg/L | actual | water | not specified | 0.2
2009-09-22 | not specified | NAHOR01 | Not specified | Barium | Total | Sample analysed in lab | µg/L | actual | water | not specified | 221
2009-09-22 | not specified | NAHOR01 | Not specified | Beryllium | Total | Sample analysed in lab | µg/L | actual | water | 0.1 | <0.1
2009-09-22 | not specified | NAHOR01 | Not specified | Bismuth | Total | Sample analysed in lab | µg/L | actual | water | 1 | <1
2009-09-22 | not specified | NAHOR01 | Not specified | Boron | Total | Sample analysed in lab | µg/L | actual | water | 50 | <50
2009-09-22 | not specified | NAHOR01 | Not specified | Cadmium | Total | Sample analysed in lab | µg/L | actual | water | 0.01 | <0.01
2009-09-22 | not specified | NAHOR01 | Not specified | Calcium | Total | Sample analysed in lab | mg/L | actual | water | not specified | 56.4
2009-09-22 | not specified | NAHOR01 | Not specified | Chromium | Total | Sample analysed in lab | µg/L | actual | water | 1 | <1
2009-09-22 | not specified | NAHOR01 | Not specified | Cobalt | Total | Sample analysed in lab | µg/L | actual | water | 0.5 | <0.5
2009-09-22 | not specified | NAHOR01 | Not specified | Copper | Total | Sample analysed in lab | µg/L | actual | water | not specified | 0.3
2009-09-22 | not specified | NAHOR01 | Not specified | Iron | Total | Sample analysed in lab | µg/L | actual | water | 0.2 | 248
2009-09-22 | not specified | NAHOR01 | Not specified | Lead | Total | Sample analysed in lab | µg/L | actual | water | 0.2 | <0.2
2009-09-22 | not specified | NAHOR01 | Not specified | Lithium | Total | Sample analysed in lab | µg/L | actual | water | 5 | <5
2009-09-22 | not specified | NAHOR01 | Not specified | Magnesium | Total | Sample analysed in lab | mg/L | actual | water | not specified | 24.2
2009-09-22 | not specified | NAHOR01 | Not specified | Manganese | Total | Sample analysed in lab | µg/L | actual | water | not specified | 8
2009-09-22 | not specified | NAHOR01 | Not specified | Mercury | Total | Sample analysed in lab | µg/L | actual | water | not specified | 0.04
2009-09-22 | not specified | NAHOR01 | Not specified | Molybdenum | Total | Sample analysed in lab | µg/L | actual | water | not specified | 1
2009-09-22 | not specified | NAHOR01 | Not specified | Nickel | Total | Sample analysed in lab | µg/L | actual | water | 1 | <1
2009-09-22 | not specified | NAHOR01 | Not specified | Potassium | Total | Sample analysed in lab | mg/L | actual | water | not specified | 0.64
2009-09-22 | not specified | NAHOR01 | Not specified | Selenium | Total | Sample analysed in lab | µg/L | actual | water | 0.1 | <0.1
2009-09-22 | not specified | NAHOR01 | Not specified | Silicon | Total | Sample analysed in lab | µg/L | actual | water | 0.2 | <0.02
2009-09-22 | not specified | NAHOR01 | Not specified | Sodium | Total | Sample analysed in lab | mg/L | actual | water | not specified | 1.37
2009-09-22 | not specified | NAHOR01 | Not specified | Strontium | Total | Sample analysed in lab | µg/L | actual | water | not specified | 109
2009-09-22 | not specified | NAHOR01 | Not specified | Sulphur | Total | Sample analysed in lab | mg/L | actual | water | not specified | 15
2009-09-22 | not specified | NAHOR01 | Not specified | Thallium | Total | Sample analysed in lab | µg/L | actual | water | 0.05 | <0.05
2009-09-22 | not specified | NAHOR01 | Not specified | Tin | Total | Sample analysed in lab | µg/L | actual | water | 5 | <5
2009-09-22 | not specified | NAHOR01 | Not specified | Titanium | Total | Sample analysed in lab | µg/L | actual | water | 5 | <5
2009-09-22 | not specified | NAHOR01 | Not specified | Uranium | Total | Sample analysed in lab | µg/L | actual | water | not specified | 1.1
2009-09-22 | not specified | NAHOR01 | Not specified | Vanadium | Total | Sample analysed in lab | µg/L | actual | water | 5 | <5
2009-09-22 | not specified | NAHOR01 | Not specified | Zinc | Total | Sample analysed in lab | µg/L | actual | water | 5 | <5
2009-09-22 | not specified | NAHOR01 | Not specified | Zirconium | Total | Sample analysed in lab | µg/L | actual | water | 0.5 | <0.5
2010-09-27 | not specified | NAHOR01 | Not specified | pH | Soluble (2:1) | Sample analysed in lab | pH units | actual | sediment | not specified | 8.39
2010-09-27 | not specified | NAHOR01 | Not specified | Aluminum | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 1650
2011-11-03 | not specified | NAHOR01 | Not specified | Aluminum | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 6520
2010-09-27 | not specified | NAHOR01 | Not specified | Antimony | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 0.1
2011-11-03 | not specified | NAHOR01 | Not specified | Antimony | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 0.5
2010-09-27 | not specified | NAHOR01 | Not specified | Arsenic | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 1.9
2011-11-03 | not specified | NAHOR01 | Not specified | Arsenic | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 9.9
2010-09-27 | not specified | NAHOR01 | Not specified | Barium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 476
2011-11-03 | not specified | NAHOR01 | Not specified | Barium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 1020
2010-09-27 | not specified | NAHOR01 | Not specified | Beryllium | Total | Sample analysed in lab | mg/kg | actual | sediment | 0.4 | 0.1
2011-11-03 | not specified | NAHOR01 | Not specified | Beryllium | Total | Sample analysed in lab | mg/kg | actual | sediment | 0.4 | <0.4
2010-09-27 | not specified | NAHOR01 | Not specified | Bismuth | Total | Sample analysed in lab | mg/kg | actual | sediment | 0.1 | <0.1
2011-11-03 | not specified | NAHOR01 | Not specified | Bismuth | Total | Sample analysed in lab | mg/kg | actual | sediment | 0.1 | <0.1
2010-09-27 | not specified | NAHOR01 | Not specified | Cadmium | Total | Sample analysed in lab | mg/kg | actual | sediment | 0.05 | <0.05
2011-11-03 | not specified | NAHOR01 | Not specified | Cadmium | Total | Sample analysed in lab | mg/kg | actual | sediment | 0.05 | 0.3
2010-09-27 | not specified | NAHOR01 | Not specified | Calcium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 145000
2011-11-03 | not specified | NAHOR01 | Not specified | Calcium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 146000
2010-09-27 | not specified | NAHOR01 | Not specified | Chromium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 3
2011-11-03 | not specified | NAHOR01 | Not specified | Chromium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 11
2010-09-27 | not specified | NAHOR01 | Not specified | Cobalt | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 1.7
2011-11-03 | not specified | NAHOR01 | Not specified | Cobalt | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 6.9
2010-09-27 | not specified | NAHOR01 | Not specified | Copper | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 2.1
2011-11-03 | not specified | NAHOR01 | Not specified | Copper | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 9.1
2010-09-27 | not specified | NAHOR01 | Not specified | Iron | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 5430
2011-11-03 | not specified | NAHOR01 | Not specified | Iron | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 29300
2010-09-27 | not specified | NAHOR01 | Not specified | Lead | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 5.1
2011-11-03 | not specified | NAHOR01 | Not specified | Lead | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 13.1
2010-09-27 | not specified | NAHOR01 | Not specified | Lithium | Total | Sample analysed in lab | mg/kg | actual | sediment | 5 | <5
2011-11-03 | not specified | NAHOR01 | Not specified | Lithium | Total | Sample analysed in lab | mg/kg | actual | sediment | 5 | 19
2010-09-27 | not specified | NAHOR01 | Not specified | Magnesium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 43500
2011-11-03 | not specified | NAHOR01 | Not specified | Magnesium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 33400
2010-09-27 | not specified | NAHOR01 | Not specified | Manganese | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 178
2011-11-03 | not specified | NAHOR01 | Not specified | Manganese | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 361
2010-09-27 | not specified | NAHOR01 | Not specified | Mercury | Total | Sample analysed in lab | mg/kg | actual | sediment | 0.05 | <0.05
2011-11-03 | not specified | NAHOR01 | Not specified | Mercury | Total | Sample analysed in lab | mg/kg | actual | sediment | 0.05 | 0.18
2010-09-27 | not specified | NAHOR01 | Not specified | Molybdenum | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 0.5
2011-11-03 | not specified | NAHOR01 | Not specified | Molybdenum | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 1.8
2010-09-27 | not specified | NAHOR01 | Not specified | Nickel | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 8.6
2011-11-03 | not specified | NAHOR01 | Not specified | Nickel | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 18.3
2010-09-27 | not specified | NAHOR01 | Not specified | Phosphorus | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 225
2011-11-03 | not specified | NAHOR01 | Not specified | Phosphorus | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 468
2010-09-27 | not specified | NAHOR01 | Not specified | Potassium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 205
2011-11-03 | not specified | NAHOR01 | Not specified | Potassium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 821
2010-09-27 | not specified | NAHOR01 | Not specified | Selenium | Total | Sample analysed in lab | mg/kg | actual | sediment | 0.5 | <0.5
2011-11-03 | not specified | NAHOR01 | Not specified | Selenium | Total | Sample analysed in lab | mg/kg | actual | sediment | 0.5 | 0.7
2010-09-27 | not specified | NAHOR01 | Not specified | Silver | Total | Sample analysed in lab | mg/kg | actual | sediment | 0.05 | <0.05
2011-11-03 | not specified | NAHOR01 | Not specified | Silver | Total | Sample analysed in lab | mg/kg | actual | sediment | 0.05 | <0.05
2010-09-27 | not specified | NAHOR01 | Not specified | Sodium | Total | Sample analysed in lab | mg/kg | actual | sediment | 100 | <100
2011-11-03 | not specified | NAHOR01 | Not specified | Sodium | Total | Sample analysed in lab | mg/kg | actual | sediment | 100 | 126
2010-09-27 | not specified | NAHOR01 | Not specified | Strontium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 178
2011-11-03 | not specified | NAHOR01 | Not specified | Strontium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 148
2010-09-27 | not specified | NAHOR01 | Not specified | Thallium | Total | Sample analysed in lab | mg/kg | actual | sediment | 0.05 | <0.05
2011-11-03 | not specified | NAHOR01 | Not specified | Thallium | Total | Sample analysed in lab | mg/kg | actual | sediment | 0.05 | 0.12
2010-09-27 | not specified | NAHOR01 | Not specified | Tin | Total | Sample analysed in lab | mg/kg | actual | sediment | 0.1 | <0.1
2011-11-03 | not specified | NAHOR01 | Not specified | Tin | Total | Sample analysed in lab | mg/kg | actual | sediment | 0.1 | 2.7
2010-09-27 | not specified | NAHOR02 | Not specified | Titanium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 4
2011-11-03 | not specified | NAHOR03 | Not specified | Titanium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 15
2010-09-27 | not specified | NAHOR04 | Not specified | Uranium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 0.32
2011-11-03 | not specified | NAHOR05 | Not specified | Uranium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 0.62
2010-09-27 | not specified | NAHOR06 | Not specified | Vanadium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 4
2011-11-03 | not specified | NAHOR07 | Not specified | Vanadium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 11
2010-09-27 | not specified | NAHOR08 | Not specified | Zinc | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 14
2011-11-03 | not specified | NAHOR09 | Not specified | Zinc | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 54
2010-09-27 | not specified | NAHOR10 | Not specified | Zirconium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 0.8
2011-11-03 | not specified | NAHOR11 | Not specified | Zirconium | Total | Sample analysed in lab | mg/kg | actual | sediment | not specified | 1.7

## 1.b QAQC
Stewardship Group | Sample Date (dd/mm/yy) | Site Code* | Site Name | Alkalinity (Total as CaCO3) | Alkalinity (PP as CaCO3) | Bicarbonate (HCO3) | Carbonate (CO3) | Hydroxide (OH) | Nitrite (N) | Nitrate (N) | Orthophosphate (P) | Nitrate plus Nitrite (N) | Conductivity | pH | Turbidity
|  |  | Units | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | uS/cm | pH units | NTU
|  |  | Reportable Detection Limit (RDL) | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.005 | 0.02 | 0.005 | 0.02 | 1 |  | 0.1
U. Columbia | 2010-05-04 | NAHOR01 | Horse Ck. Site 1 | [9 empty] | 277.7 | 8.49 | 2.9
U. Columbia | 2010-05-04 | NAHOR01 rep | Horse Ck. Site 1 | 160 | 0.8 | 190 | 1 | <0.5 | <0.005 | 0.05 | <0.005 | 0.05 | 323 | 8.3 | 7.6
U. Columbia |  | Duplicate QC | Calculated RPD (%) | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
U. Columbia | 2010-06-07 | NAHOR01 bla | Horse Ck. Site 1 | 1.2 | <0.5 | 1.5 | <0.5 | <0.5 | <0.005 | <0.02 | <0.005 | <0.02 | 1 | 6 | 0.4
U. Columbia |  | Blank QC | X times > than RDL | 2.4 | 1 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | n/a | n/a
U. Columbia | 2010-06-07 | NAHOR01 reg | Horse Ck. Site 1 | 160 | <0.5 | 190 | <0.5 | <0.5 | <0.005 | 0.05 | <0.005 | 0.05 | 325 | 8.3 | 10.7
U. Columbia | 2010-06-07 | NAHOR01 EQU | Horse Ck. Site 1 | [9 empty] | 326.4 | 8.69 | 9.92
U. Columbia |  | Duplicate QC | Calculated RPD (%) | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
U. Columbia | 2011-09-20 10:00 | NAHOR01-B | Horse Ck. Site 1 | 170 | <0.5 | 210 | <0.5 | <0.5 | <0.005 | 0.03 | 0.006 | 0.03 | 378 | 8.25 | 0.6
U. Columbia | 2011-09-20 10:00 | NAHOR01-EQU | Horse Ck. Site 1 | [9 empty] | 384.2 | 8.54 | 2.54
U. Columbia |  | Duplicate QC | Calculated RPD (%) | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
U. Columbia | 2011-09-20 12:00 | NAHOR01-BLK | Horse Ck. Site 1 | 0.8 | <0.5 | 1 | <0.5 | <0.5 | <0.005 | <0.02 | <0.005 | <0.02 | 4 | 6.17 | <0.1
U. Columbia |  | Blank QC | X times > than RDL | 1.6 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 4 | n/a | 1
U. Columbia | 2011-11-03 | NAHOR01 SPLE 1-REG | Horse Ck. Site 1 | 172 | 2.3 | 205 | 2.7 | <0.5 | <0.005 | 0.05 | <0.005 ( 1 ) | 0.05 | 392.3 | 8.42 | 1.1
U. Columbia | 2011-11-03 | NAHOR01 SPLE 2 | Horse Ck. Site 1 | 172 | <0.5 | 210 | <0.5 | <0.5 | <0.005 | 0.05 | <0.005 ( 1 ) | 0.05 | 389 | 8.18
U. Columbia |  | Duplicate QC | Calculated RPD (%) | 0 | 128.5714 | -2.4096 | 137.5 | 0 | 0 | 0 | 0 | 0 | 0.84475 | 2.8916 | n/a
U. Columbia | 2011-11-03 | NAHOR01 SPLE 3 BLK | Horse Ck. Site 1 | 0.7 | <0.5 | 0.8 | <0.5 | <0.5 | <0.005 | <0.02 | <0.005 ( 1 ) | <0.02 | 1 | 5.88 | <0.1
U. Columbia |  | Blank QC | X times > than RDL | 1.4 | 1 | 1.6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | n/a | 1
U. Columbia | 2012-07-23 11:31 | NAHORO1 REG | Horse Ck. Site 1 | 132 | <0.50 | 161 | <0.50 | <0.50 | <0.0050 | 0.022 | <0.0050 | 0.022 | 313.8 | 9.6 | 6.15
U. Columbia | 2012-07-23 11:36 | NAHORO1 REP | Horse Ck. Site 1 | 134 | <0.50 | 163 | <0.50 | <0.50 | <0.0050 | <0.020 | <0.0050 | <0.020 | 8.22 |  | 1.81
U. Columbia |  | Duplicate QC | Calculated RPD (%) | -1.5038 | 0 | -1.2346 | 0 | 0 | 0 | 9.5238 | 0 | 9.5238 | n/a | n/a | n/a
U. Columbia | 2012-07-23 11:50 | NAHORO1 BLK | Horse Ck. Site 1 | 3.24 | <0.50 | 3.95 | <0.50 | <0.50 | <0.0050 | <0.020 | <0.0050 | <0.020 | 7.95 |  | <0.10
U. Columbia |  | Blank QC | X times > than RDL | 6.48 | 1 | 7.9 | 1 | 1 | 1 | 1 | 1 | 1 | 7.95 | n/a | 1
QA/QC Alert Crieria (Maxxam):
Duplicate (or REP for replicate) review based on relative percent difference (RPD) = Recommended alert if RPD ≥30% for general chemistry. Relative percent difference limit (RPD)= [(Result 2 - Result 1) / mean] * 100.
Field Blank (BLK), recommended alert = 2X reporting limit (RDL)
( 1 ) Sample analysed past recommended hold time
Conductivity' is Specific Conductance.

## 2. Lab and Sample Metadata
Dataset Name | Horse Creek (NAHOR01)
Site ID | NAHOR01
Waterbody Type | Streams
Waterbody | Horse Creek
Location/Site Name | Horse Creek (NAHOR01)
Location Latitude (decimal degrees) | 51.2094
Location Longitude (decimal degrees) | -116.8986
Location Coordinate System | Not specified
Location Elevation (masl) | 788
Measurement Interval | Approximately monthly during field season
Site Photos in Dataset | No
Photo Folder Name | N/A
Sample ID | Not specified | 2
Lab Name | Not specified
Date of Analysis | Not specified
Date of Sampling | See Lab Results
Sample Equipment | Not specified
Time Zone | MT
Notes: | N/A

## 2.b Definitions
1. Lab Results Definitions
Field | Definiton | Format | Example
Date Sampled (YYYY-MM-DD) | When was this sample collected? | (YYYY-MM-DD) | 2021-01-20
Sample Time (hh:mm:ss) | The time the sample was collected (seconds can be zero for rounding, and can also round to nearest quarter hours) | (hh:mm:ss) | 11:23
Date Analysed (YYY-MM-DD) | When was the sample analysed? | (YYYY-MM-DD) | 2021-02-17
SiteID | Where was this sample collected? | Text | Slocan_01
SampleID | What is the identification given by the lab to the sample? | Text | AT-2937
Analyte | The chemical parameter being measured | Text | Nitrate
Analyte Specification | In what form is the analyte being analyzed | Text | As N
Method | The method carried out for analyzing for the analyte in question, if provided | Text | E235.NO3-L
Unit of Measurement | The unit that the analyte in question is being measured in | Text | mg/L
Detection Limit | The lowest result that the method is able to analyze | Number | 0.0050
Value Type | This specifies whether a result is actual, blank corrected, calculated, control adjusted, or estimated | Text | calculated
Matrix | The medium used to analyze the sample | Text | Water
Values | Here is where you can paste the actual values/results from the analysis | Number | 0.01
2. Lab and Sample Metadata Definitions
Field | Definition | Format | Example
Dataset Name | A short self-explanatory title of your dataset (Multiple files in the same dataset will be displayed as a list on the Water Hub). | Text (0-512 characters) | Upper Athabasca Community Based Monitoring
Site photos in dataset | Whether site photos will be included as a separate zipfile as part of the dataset this resource contains | Text | Yes
Photo folder name | Name of the folder within a zip file that will contain photos relevant to this resource/site | Text | south_slocan_lake_site
Sample ID | What is the identification assigned by the lab to the sample? | Text | AT-2937
Lab Name | The name and location of the lab that conducted the analysis | Text (0-35 characters) | ALS Labs, Vancouver
Date of analysis | The date that the lab actually conducted the analysis | (YYYY-MM-DD) | 2021-01-22
Sample date | The date that the sample was collected | (YYYY-MM-DD) | 2021-01-20
Sample Site ID | Unique name/code used to identify the monitoring site (assigned by monitoring organization). Max 35 characters. | Text (0-35 characters) | SAH-01
Waterbody Type | Type of monitoring location. Must be entered exaclty as specified in Allowed Values. (ex. River/Stream) | Pick From List | Lake
Waterbody | Name of the waterbody where monitoring took place. | Text | Slocan Lake
Location/Site Name | Geographically descriptive name of the monitoring site. | Text (0-255 characters) | Slocan Lake at Slocan Village Boat Launch
Location Latitude | Latitude. Decimal 6-8 digits (ex. 51.048614). | Decimal degrees | 51.0486
Location Longitude | Longitude. Decimal 6-9 digits (ex. -114.070821). | Decimal degrees | -114.0708
Location Coordinate System | The datum that your latitude and longitude coordinates are based upon. Commonly used datum are NAD83 or NAD27. | Pick From List | WGS84
Elevation | The elevation of your monitoring location (metres above sea level) | Number | 800
Measurement interval | The interval that measurements are being taken, ex. hourly, 8 hrs, 24 hrs, weekly, monthly | Text | Hourly
Sample Equipment | The medium in which the sample was collected | Text | Water Bottle
Time Zone | The time zone of the site | Text | PST
Analyte Reference
Analytes | Analyte Speciation | Units
specific conductance | N/A | uS/cm
umho/cm
specific conductivity | N/A | uS/cm
umho/cm
actual conductance | N/A | uS/cm
umho/cm
actual conductivity | N/A | uS/cm
umho/cm
Bromide |  | mg/L
Chloride |  | mg/L
Fluoride |  | mg/L
Nitrate | as N | mg/L
Nitrite | as N | mg/L
Phosphate | as P | mg/L
| ortho-, dissolved (as P) | µg/L
Sulfate | as SO4 | mg/L
Temperature | at pH | Degrees Celsius
Colour | True | CU
Acidity | Total (as CaCO3) | mg/L
Alkalinity | Total (as CaCO3) | mg/L
| Phenolphthalein (as CaCO3) | mg/L
| Bicarbonate (as CaCO3) | mg/L
| Carbonate (as CaCO3) | mg/L
| Hydroxide (as CaCO3) | mg/L
Bicarbonate | HCO3 | mg/L
Carbonate | CO3 | mg/L
Hydroxide | OH | mg/L
Ammonia | Total (as N) | mg/L
Carbon | Total Organic | mg/L
| Total Dissolved | mg/L
Cyanide | Total | mg/L
Nitrogen | Total Kjeldahl | mg/L
| Total | mg/L
Solids | Total Dissolved | mg/L
| Total Suspended | mg/L
Turbidity |  | NTU
pH |  | pH units
Conductivity | EC | uS/cm
Langelier Index |  | N/A
Hardness | Total (as CaCO3) | mg/L
| Total (as CaCO3), from total Ca/Mg | mg/L
Nitrate+Nitrite | as N | mg/L
Aluminum | Dissolved | mg/L
| Total | mg/L
| Dissolved | µg/L
| Total | µg/L
Antimony | Dissolved | mg/L
| Total | mg/L
Arsenic | Dissolved | mg/L
| Total | mg/L
Barium | Dissolved | mg/L
| Total | mg/L
Beryllium | Dissolved | mg/L
| Total | mg/L
Bismuth | Dissolved | mg/L
| Total | mg/L
Boron | Dissolved | mg/L
| Total | mg/L
Cadmium | Dissolved | mg/L
| Total | mg/L
Calcium | Dissolved | mg/L
| Total | mg/L
Chromium | Dissolved | mg/L
| Total | mg/L
Cobalt | Dissolved | mg/L
| Total | mg/L
Copper | Dissolved | mg/L
| Total | mg/L
Iron | Dissolved | mg/L
| Total | mg/L
Lead | Dissolved | mg/L
| Total | mg/L
Lithium | Dissolved | mg/L
| Total | mg/L
Magnesium | Dissolved | mg/L
| Total | mg/L
Manganese | Dissolved | mg/L
| Total | mg/L
Mercury | Dissolved | mg/L
| Total | mg/L
Molybdenum | Dissolved | mg/L
| Total | mg/L
Nickel | Dissolved | mg/L
| Total | mg/L
Phosphorus | Dissolved | mg/L
| Total | mg/L
Potassium | Dissolved | mg/L
| Total | mg/L
Selenium | Dissolved | mg/L
| Total | mg/L
Silicon | Dissolved | mg/L
| Total | mg/L
Silver | Dissolved | mg/L
| Total | mg/L
Sodium | Total | mg/L
Strontium | Total | mg/L
Sulfur | Total | mg/L
Tellurium | Total | mg/L
Thallium | Total | mg/L
Thorium | Total | mg/L
Tin | Total | mg/L
Titanium | Total | mg/L
Tungsten | Total | mg/L
Uranium | Dissolved | mg/L
| Total | mg/L
Vanadium | Dissolved | mg/L
| Total | mg/L
Zinc | Dissolved | mg/L
| Total | mg/L
Zirconium | Dissolved | mg/L
| Total | mg/L
Methods
Method References
The analytical methods used by ALS are developed using internationally recognized reference methods (where available), such as those published by US EPA, APHA Standard Methods, ASTM, ISO, Environment Canada, BC MOE, and Ontario MOE. Reference methods may incorporate modifications to improve performance
Method | Test Description | Matrix | Method Reference | Methodology Description
E235.Br-L | Bromide in Water by IC (Low Level) | Water | EPA 300.1 (mod) | Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E235.Cl | Chloride in Water by IC | Water | EPA 300.1 (mod) | Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E235.F | Fluoride in Water by IC | Water | EPA 300.1 (mod) | Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E235.NO2-L | Nitrite in Water by IC (Low Level) | Water | EPA 300.1 (mod) | Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E235.NO3-L | Nitrate in Water by IC (Low Level) | Water | EPA 300.1 (mod) | Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E235.SO4 | Sulfate in Water by IC | Water | EPA 300.1 (mod) | Inorganic anions are analyzed by Ion Chromatography with conductivity and/or UV detection.
E378-U | Dissolved Orthophosphate by Colourimetry (Ultra Trace Level) | Water | APHA 4500-P E (mod) | Dissolved Orthophosphate is determined colourimetrically on a water sample that has been lab or field filtered through a 0.45 micron membrane filter. Field filtration is recommended to ensure test results represent conditions at time of sampling.
E160-H | TSS by Gravimetry | Water | APHA 2540 D (mod) | Total Suspended Solids (TSS) are determined by filtering a sample through a glass fibre filter, following by drying of the filter at 104 ± 1°C, with gravimetric measurement of the filtered solids. Samples containing very high dissolved solid content (i.e. seawaters, brackish waters) may produce a positive bias by this method. Alternate analysis methods are available for these types of samples.
EC100A | Hardness (Calculated) from Total Ca/Mg | Water | APHA 2340B | “Hardness (as CaCO3), from total Ca/Mg” is calculated from the sum of total Calcium and Magnesium concentrations, expressed in CaCO3 equivalents. “Total Hardness” refers to the sum of Calcium and Magnesium Hardness. Hardness is normally or preferentially calculated from dissolved Calcium and Magnesium concentrations, because it is a property of water due to dissolved divalent cations. Hardness from total Ca/Mg is normally comparable to Dissolved Hardness in non-turbid waters.
E420.Cr-L | Total Chromium in Water by CRC ICPMS (Low Level) | Water | EPA 200.2/6020B (mod) | Water samples are digested with nitric and hydrochloric acids, and analyzed by Collision/Reaction Cell ICPMS.
E420 | Total Metals in Water by CRC ICPMS | Water | EPA 200.2/6020B (mod) | Water samples are digested with nitric and hydrochloric acids, and analyzed by Collision/Reaction Cell ICPMS. Method Limitation (re: Sulfur): Sulfide and volatile sulfur species may not be recovered by this method.
E508 | Total Mercury in Water by CVAAS | Water | EPA 1631E (mod) | Water samples undergo a cold-oxidation using bromine monochloride prior to reduction with stannous chloride, and analyzed by CVAAS
Sample analysed in lab
In situ
Unknown
Water Quality Guidelines
Some labs may include water quality guidelines for reference. If you would like to include these in your results, additional columns can be added to Tab 1. Lab Results.
BCWQ1 | BC Water Quality Guidelines - Freshwater Aquatic Life
CSR2AL | BC CSR Schedule 3.2 Aquatic Life
CSR2DW | BC CSR Schedule 3.2 Drinking Water
BCDW | BC Source Drinking Water Quality Guidelines (2017)

## 3. Water Hub Metadata
Resource Level
Field Name | Description | Enter Data Here
Header Row | This is the row (in the first tab of this workbook) which CKAN will use to name the columns in your data's preview on the Water Hub. The row with your column labels. | 1
Resource Name (Required) | The name of this resource using the structure "Parameter (Date Range) Waterbody Site (Code) | Water Quality (2009-09-22 to 2012-10-18) Horse Creek (NAHOR01)
Citation (Required) | An example of how this resource could be cited. Creator (PublicationYear). Resource Name. Publisher. (Resource). Location. DOI | Wildsight Golden (2021). Water Quality (2009-09-22 to 2012-10-18) Horse Creek (NAHOR01). Columbia Basin Water Hub (Resource) Golden. (DOI)
Format (Required) | The format that the resource is uploaded in | XLSX
Description | Please provide a brief description of this resource. Include dates of data collection if applicable. | This resource includes water quality and sediment analysis for Horse Creek, that were collected as part of the Columbia Basin Water Quality Monitoring Project which was coordinated and administered by Mainstreams.
Resource Location | Location where the data in this resource was collected, could include information to identify the sampling site | 13 kilometres south of Golden. Site is located about 180m upstream of the confluence with the Columbia River. About 150 metres downstream of railway bridge that goes over Horse Creek.
Data Collection Information | Provide any additional information about how data were collected such as sampling methods, equipment, calibration, QA/QC samples collected. | Dissolved oxygen, conductivity, pH, turbidity and temperature were measured in situ. Other parameters were measured in lab from samples.
Water Hub Data Grade | The Water Hub Data Grade of this resource. See Water Hub Data Management Plan for details on the Water Hub Data Grade System. | Community Research Grade
Data Processing | Describe any data cleaning, processing and/or QA/QC that was done to the data. | Lab duplicates and field blanks were analysed, the results of these are included on sheet 1.b QA/QC
Data Disclaimer | Provide any additional data disclaimer statements regarding the use of this resource | No warranty or guarantee exists that the information is accurate, complete, current, or suitable for any purpose. The individual user must confirm the accuracy of the data and whether it will be appropriate for their purpose.
Water Hub Certification of Person Uploading | State whether the person who is uploading this file has undergone the Water Hub Certification Training | Certified
Dataset Level
Field Name | Description | Enter Data Here
Dataset Name (Required) | Name of the dataset which the data is stored in. Include the waterbody, and site name/code if applicable. | Horse Creek (NAHOR01)
Abstract (Required) | A description of your dataset including purpose and nature of your monitoring efforts. You may want to include acknowledgements here as well (e.g. funders and other supporters of your work). | Water quality monitoring for Horse Creek. From 2009 to 2012, data in this dataset was collected by the Wildsight Golden as part of the Columbia Basin Water Quality Monitoring Project which was coordinated and administered by Mainstreams.
Data Upload Organization (Required) | Name of the organization or other parties responsible for uploading the data. | Columbia Basin Water Hub
Visibility | This will determine whether this dataset is downloadable and previewable to the public. There are two choices here: Public and Private. If unsure we recommend you reach out to us | Public
Data Collection Organization (Required) | Name of the organization or other parties responsible for collecting the data. | Wildsight Golden
Data Steward Email (Required) | The email address that will be publicly associated with this dataset. This should be an email address that people can use to get in contact if they have questions about using or understanding your data. | santiago@livinglakescanada.ca
Citation (Required) | An example of how this resource could be cited. Creator (PublicationYear). Dataset Name. Publisher. (Dataset). Location. DOI | Wildsight Golden (2021). Horse Creek (NAHOR01). Columbia Basin Water Hub (Dataset). Golden. (DOI)
Dataset Upload Year | The year the resource was created. | 2021
Funding Description | Information about financial support (funding) for the resource being registered. | The CBWQ was primarily funded by Columbia Basin Trust. This project would not have been possible without the continuing funding from the Trust.
Data Disclaimer | Any additional data disclaimer statements regarding the use of your data. | No warranty or guarantee exists that the information is accurate, complete, current, or suitable for any purpose. The individual user must confirm the accuracy of the data and whether it will be appropriate for their purpose.
Other Data Sources | Any other sources that were used to prepare your data or incorporated into this dataset | N/A
Location | A broad description of the area where data for this dataset was collected | 13 kilometres south of Golden. Site is located about 180m upstream of the confluence with the Columbia River. About 150 metres downstream of railway bridge that goes over Horse Creek.
DOI | The Digital Object Identifier for this dataset. This field will be completed by Water Hub Staff.
Licensing & Attribution | Please choose from one of the following: Creative Commons Attribution-NonCommercial-ShareAlike 4.0 International (CC-BY- NC-SA-4.0) https://spdx.org/licenses/CC-BY-NC-SA-4.0.html Creative Commons Attribution Share-Alike International (CC-BY-SA-4.0) https://spdx.org/licenses/CC-BY-SA-4.0.html CC0 1.0 Universal (CC0 1.0) Public Domain Dedication (CC0 1.0) https://creativecommons.org/publicdomain/zero/1.0/ Open Government Licence - Canada (OGL-Canada-2.0) https://open.canada.ca/en/open-government-licence-canada. | CC-BY-NC-SA-4.0
Data Type | The type included here will dictate which Layer your dataset appears in on the map search. Choose ONE of the example groups that most closely represents your dataset. | Streams
Keywords | Keywords related to your dataset or program, to help users find your data. Include the Water Hub Data Grades of all resources in the dataset here. Include as many keywords from the list as are applicable. Keywords not on the example list cannot be used, contact Water Hub team if you have a keyword suggestion. | Community Research Grade, Community-based monitoring, Lotic, Water stewardship, Water Quality
Latitude (required) | The latitude for the location that the map pin will appear on the Water Hub (if your dataset includes resources from multiple locations, choose the primary one)(decimal degrees) | 51.2094
Longitude (required) | The longitude for the location that the map pin will appear on the Water Hub (decimal degrees) | -116.8986

## 4. Changelog
Date of Modification | Description of Modification | Purpose | Name of Person Modifying