## 1. Observations
date_time | site_id | latitude | longitude | notes | velocity | velocity_units | discharge | discharge_units | water_hub_qa_qc
2015-04-28 | NESHP01 | 49.1413 | -117.2586 | Flow too high for measurement | N/A | metres per second | N/A | metres3 per second | N/A
2015-05-26 | NESHP01 | 49.1413 | -117.2586 | N/A | 0.77 | metres per second | 8.45 | metres3 per second | N/A
2015-07-29 | NESHP01 | 49.1413 | -117.2586 | N/A | N/A | metres per second | 0.99 | metres3 per second | N/A
2015-09-02 | NESHP01 | 49.1413 | -117.2586 | N/A | N/A | metres per second | 0.99 | metres3 per second | N/A
2015-09-23 | NESHP01 | 49.1413 | -117.2586 | N/A | 0.11 | metres per second | 0.39 | metres3 per second | N/A
2015-10-27 | NESHP01 | 49.1413 | -117.2586 | Flow too high for measurement | N/A | metres per second | N/A | metres3 per second | N/A
2016-04-25 | NESHP01 | 49.1413 | -117.2586 | Flow too high for measurement | N/A | metres per second | N/A | metres3 per second | N/A
2016-05-24 | NESHP01 | 49.1413 | -117.2586 | Flow too high for measurement | N/A | metres per second | N/A | metres3 per second | N/A
2016-06-15 | NESHP01 | 49.1413 | -117.2586 | N/A | 0.47 | metres per second | 4.27 | metres3 per second | N/A
2016-07-20 | NESHP01 | 49.1413 | -117.2586 | N/A | 0.33 | metres per second | 1.64 | metres3 per second | N/A
2016-08-18 | NESHP01 | 49.1413 | -117.2586 | N/A | 0.2 | metres per second | 1.05 | metres3 per second | N/A
2016-09-20 | NESHP01 | 49.1413 | -117.2586 | N/A | 0.13 | metres per second | 0.76 | metres3 per second | N/A
2016-10-18 | NESHP01 | 49.1413 | -117.2586 | N/A | 0.5 | metres per second | 4.56 | metres3 per second | N/A
2017-04-27 | NESHP01 | 49.1413 | -117.2586 | N/A | 0.7 | metres per second | 7.1156 | metres3 per second | N/A
2017-05-23 | NESHP01 | 49.1413 | -117.2586 | Flow too high for measurement | N/A | metres per second | N/A | metres3 per second | N/A
2017-06-21 | NESHP01 | 49.1413 | -117.2586 | Flow too high for measurement | N/A | metres per second | N/A | metres3 per second | N/A
2017-07-04 | NESHP01 | 49.1413 | -117.2586 | N/A | 0.47 | metres per second | 3.7972 | metres3 per second | N/A
2017-07-12 | NESHP01 | 49.1413 | -117.2586 | N/A | 0.32 | metres per second | 1.9801 | metres3 per second | N/A
2017-08-01 | NESHP01 | 49.1413 | -117.2586 | N/A | 0.21 | metres per second | 1.0721 | metres3 per second | N/A
2017-08-23 | NESHP01 | 49.1413 | -117.2586 | N/A | 0.21 | metres per second | 0.86137 | metres3 per second | N/A

## 2. Metadata
Site ID | NESHP01
Location/Site Name | Sheep Creek (NESHP01)
Waterbody Type | Streams
Waterbody | Sheep Creek
Site Latitude (decimal degrees) | 49.1413
Site Longitude (decimal degrees) | -117.2586
Coordinate System | WGS84
Site Elevation (masl) | 650
Measurement Interval | Monthly
Site Notes | N/A
Site Photos in Dataset | No
Photo Resource Name | N/A
Parameter 1 | velocity
Unit of Measurement | metres per second
Instrument Type | Not specified
Instrument Manufacturer | Not specified
Instrument Model | Not specified
Serial Number | Not specified
Range | Not specified
Accuracy | Not specified
Resolution | Not specified
Calibration Notes | N/A
Time Zone | PT
Notes on Methods | N/A
Parameter 2 | discharge
Unit of Measurement | metres3 per second
Instrument Type | Not specified
Instrument Manufacturer | Not specified
Instrument Model | Not specified
Serial Number | Not specified
Range | Not specified
Accuracy | Not specified
Resolution | Not specified
Calibration Notes | N/A
Time Zone | PT
Notes on Methods | N/A

## 2.b Metadata Definitions
Metadata Definitions
| Definition | Format | Example
Site ID | Unique name/code used to identify the monitoring site (assigned by monitoring organization). | Text | SAH_01
Waterbody Type | The type of waterbody the measurements were taken from | Text | Stream
Waterbody | Name of the waterbody where monitoring took place. | Text | Slocan Lake
Location/Site Name | Geographically descriptive name of the monitoring site. | Text | Slocan River at Passmore Bridge
Location Latitude | Latitude. Decimal degrees. | Decimal degrees | 51.0486
Location Longitude | Longitude. Decimal degrees. | Decimal degrees | -114.0708
Location Coordinate System | The datum that your latitude and longitude coordinates are based upon. | Pick From List | WGS84
Elevation | The elevation of your monitoring location (metres above sea level) | Number | 800
Measurement Interval | The timescale that measurements are being taken, ex. hourly, every 8 hours, weekly, monthly | Text | Hourly
Site Photos in Dataset | Whether site photos will be included as a separate zipfile as part of the dataset this resource contains | Text | Yes
Photo Resource Name | Name of the Resource that will contain photos relevant to this resource/site | Text | Monitoring Station Photos from Some Creek
Parameter | Type of measurement being taken. Must be expressed without spaces or symbols, lower case, use underscores as needed. | Pick From List | Temperature
Unit of Measurement | Unit of measurement for the parameter referred to above. Do not include symbols. | Pick From List | Degrees Celsius
Instrument Type | The general category of instrument being used | Pick From List | Data Logger
Instrument Manufacturer | Manufacturer of instrument used to measure this parameter | Text | YSI
Instrument Model | Model of instrument used to measure this parameter | Text | 6050020 Pro20
Serial Number | Serial number of the instrument used to measure this parameter, if applicable | Text | 20413527
Accuracy | Accuracy of the instrument used to measure this parameter (can be found on manufacturer website), this must be entered in plain text without symbols | Text | Plus or minus 2 degrees C
Range | Range of the instrument used to measure this parameter (can be found on manufacturer website) | Text | -5 to 70 degrees C (23 to 158 degrees F)
Resolution | Resolution of the instrument used to measure this parameter (can be found on manufacturer website) | Text | 0.1 degrees C
Calibration Notes: | If applicable: How is this instrument calibrated? How frequently is this performed? | Text | Calibrated monthly using a standard solution, a calibration log is available on request
Time Zone | The time zone used to record time of measurements, either local time at site, or the time zone that your instrument uses | Pick From List | PST
Notes on Methods: | Details regarding methods used to measure this parameter | Text | Temperature measurements were taken 30cm from water's edge at a depth of 10cm
Measurement Intervals | Parameter Selection Choices | Unit Choices | Instrument Types | Time Zones | Coordinate Systems
Fifteen Minutes | air_temperature | atm | Analog Thermometer | GMT | WGS84
Thirty Minutes | alkalinity | centimetres | Bench Meter | GMT-6 | NAD27
Hourly | atmospheric_pressure | CFU per 100 mL | Climate Station | GMT-7 | NAD83
Four Hours | average_air_temperature | degrees Celsius | Data Logger | GMT-8 | AMSMA
Six Hours | average_water_temperature | degrees Fahrenheit | Hach Kit | MDT | ASTRO
Eight Hours | battery_charge | hectopascal | pH meter | MST | GUAM
Twelve Hours | calcium_total | metres | Observation | MT | HARN
Daily | chlorine | metres above sea level | Portable Photometer | PDT | JHNSN
Weekly | clarity | metres below ground surface | Portable Meter | PST | NAD27
Biweekly | conductivity | metres per second | Portable Multiparameter Meter | PT | NAD83
Monthly | depth | metres3 per second | Rain Gauge | UTC | OLDHI
Single Point Measurement | discharge | milligrams per litre | Secchi Disk | UTC-6 | OTHER
As Needed | dissolved_oxygen | millimetres | Staff Gauge | UTC-7 | PR
Varied | e-coli | micromhos per centimetre | Unknown | UTC-8 | SGEOR
| fecal_coliforms | microSiemens per centimetre | N/A | N/A | SLAWR
| flow | mmHg |  | Unknown | SPAUL
| hardness | most probable number per 100 mL |  |  | UNKWN
| maximum_air_temperature | NTU |  |  | WAKE
| maxiumum_water_temperature | N/A |  |  | WGS72
| minimum_air_temperature | observation |  |  | WGS84
| minimum_water_temperature | Pa |  |  | NAD83 / BC Albers
| pH | parts per million |  |  | NAD83/ UTM Zone 11
| precipitation | pH units |  |  | NAD83/ UTM Zone 12
| snow_density | µg per litre |  |  | Not specified
| snow_depth | unknown
| snow_water_equivalent | volts
specific_conductivity
suspended_sediment
temperature_at_analyis
total_coliforms
total_dissolved_solids
total_suspended_solids
trophic_status
turbidity
velocity
water_clarity_secchi
water_hardness
water_level
water_temperature
weather_and_notes
Note on C3: @santiago@livinglakescanada.ca Are these character limitations from DataStream or the Hub? _Assigned to Santiago Botero_ -Paige Thurston

## 3. Changelog
Date of Modification | Description of Modification | Name of Person Modifying
2021-07-20 | Update metadata | PT
2022-03-29 | Upload to new template, QA/QC | VS