## 2. Metadata
Site ID | Sheep_upper | Sheep_lower
Location/Site Name | Sheep_upper | Sheep_lower
Waterbody Type | Streams | Streams
Waterbody | Salmo River | Salmo River
Site Latitude (decimal degrees) | 49.1597 | 49.1409
Site Longitude (decimal degrees) | -117.092431 | -117.259
Coordinate System | WGS84 | WGS84
Site Elevation (masl) | 1190 | 642
Measurement Interval | Hourly | Hourly
Site Notes | N/A | N/A
Site Photos in Dataset | No
Photo Resource Name | N/A
Parameter 1 | water_temperature
Unit of Measurement | degrees Celsius
Instrument Type | Data Logger
Instrument Manufacturer | HOBO
Instrument Model | Pro V2
Serial Number | N/A
Range | -40° to 70°C (-40° to 158°F) in air; maximum sustained temperature of 50°C (122°F) in water
Accuracy | ±0.21°C from 0° to 50°C (±0.38°F from 32° to 122°F)
Resolution | 0.02°C at 25°C (0.04°F at 77°F)
Calibration Notes | Calibration is completed at each readout event. The logger is removed from metal housing tube and connected to HOBO Shuttel where the data is transfered. The shuttle is then offloaded onto the computer for analysis. The is compleated roughly once each year. During read out the loggers are checked for any damage to the logger/housing and battery status. Loggers with low betterie life and/or damage are replaced.
Time Zone | PST
Notes on Methods | Temperature Loggers are housed in a metal tube that is attached to a cable fastened to a tree or rock on shore. Cable lenghts range from 2 to 4 meters. The logger/housing is placed in a deep pool and pinched between rocks to secure them during freshet.

## 2.b Metadata Definitions
Metadata Definitions
| Definition | Format | Example
Site ID | Unique name/code used to identify the monitoring site (assigned by monitoring organization). | Text | SAH_01
Waterbody Type | The type of waterbody the measurements were taken from | Text | Stream
Waterbody | Name of the waterbody where monitoring took place. | Text | Slocan Lake
Location/Site Name | Geographically descriptive name of the monitoring site. | Text | Slocan River at Passmore Bridge
Location Latitude | Latitude. Decimal degrees. | Decimal degrees | 51.0486
Location Longitude | Longitude. Decimal degrees. | Decimal degrees | -114.0708
Location Coordinate System | The datum that your latitude and longitude coordinates are based upon. | Pick From List | WGS84
Elevation | The elevation of your monitoring location (metres above sea level) | Number | 800
Measurement Interval | The timescale that measurements are being taken, ex. hourly, every 8 hours, weekly, monthly | Text | Hourly
Site Photos in Dataset | Whether site photos will be included as a separate zipfile as part of the dataset this resource contains | Text | Yes
Photo Resource Name | Name of the Resource that will contain photos relevant to this resource/site | Text | Monitoring Station Photos from Some Creek
Parameter | Type of measurement being taken. Must be expressed without spaces or symbols, lower case, use underscores as needed. | Pick From List | Temperature
Unit of Measurement | Unit of measurement for the parameter referred to above. Do not include symbols. | Pick From List | Degrees Celsius
Instrument Type | The general category of instrument being used | Pick From List | Data Logger
Instrument Manufacturer | Manufacturer of instrument used to measure this parameter | Text | YSI
Instrument Model | Model of instrument used to measure this parameter | Text | 6050020 Pro20
Serial Number | Serial number of the instrument used to measure this parameter, if applicable | Text | 20413527
Accuracy | Accuracy of the instrument used to measure this parameter (can be found on manufacturer website), this must be entered in plain text without symbols | Text | Plus or minus 2 degrees C
Range | Range of the instrument used to measure this parameter (can be found on manufacturer website) | Text | -5 to 70 degrees C (23 to 158 degrees F)
Resolution | Resolution of the instrument used to measure this parameter (can be found on manufacturer website) | Text | 0.1 degrees C
Calibration Notes: | If applicable: How is this instrument calibrated? How frequently is this performed? | Text | Calibrated monthly using a standard solution, a calibration log is available on request
Time Zone | The time zone used to record time of measurements, either local time at site, or the time zone that your instrument uses | Pick From List | PST
Notes on Methods: | Details regarding methods used to measure this parameter | Text | Temperature measurements were taken 30cm from water's edge at a depth of 10cm
Measurement Intervals | Parameter Selection Choices | Unit Choices | Instrument Types | Time Zones | Coordinate Systems
Fifteen Minutes | air_temperature | atm | Analog Thermometer | GMT | WGS84
Thirty Minutes | alkalinity | centimetres | Bench Meter | GMT-6 | NAD27
Hourly | atmospheric_pressure | CFU per 100 mL | Climate Station | GMT-7 | NAD83
Four Hours | average_air_temperature | degrees Celsius | Data Logger | GMT-8 | AMSMA
Six Hours | average_water_temperature | degrees Fahrenheit | Hach Kit | MDT | ASTRO
Eight Hours | battery_charge | hectopascal | pH meter | MST | GUAM
Twelve Hours | calcium_total | metres | Observation | MT | HARN
Daily | chlorine | metres above sea level | Portable Photometer | PDT | JHNSN
Weekly | clarity | metres below ground surface | Portable Meter | PST | NAD27
Biweekly | conductivity | metres per second | Portable Multiparameter Meter | PT | NAD83
Monthly | depth | metres3 per second | Rain Gauge | UTC | OLDHI
Single Point Measurement | discharge | milligrams per litre | Secchi Disk | UTC-6 | OTHER
As Needed | dissolved_oxygen | millimetres | Staff Gauge | UTC-7 | PR
Varied | e-coli | micromhos per centimetre | Unknown | UTC-8 | SGEOR
| fecal_coliforms | microSiemens per centimetre | N/A | N/A | SLAWR
| flow | mmHg |  | Unknown | SPAUL
| hardness | most probable number per 100 mL |  |  | UNKWN
| maximum_air_temperature | NTU |  |  | WAKE
| maxiumum_water_temperature | N/A |  |  | WGS72
| minimum_air_temperature | observation |  |  | WGS84
| minimum_water_temperature | Pa |  |  | NAD83 / BC Albers
| pH | parts per million |  |  | NAD83/ UTM Zone 11
| precipitation | pH units |  |  | NAD83/ UTM Zone 12
| snow_density | µg per litre |  |  | Not specified
| snow_depth | unknown
| snow_water_equivalent | volts
specific_conductivity
suspended_sediment
temperature_at_analyis
total_coliforms
total_dissolved_solids
total_suspended_solids
trophic_status
turbidity
velocity
water_clarity_secchi
water_hardness
water_level
water_temperature
weather_and_notes
Note on C3: @santiago@livinglakescanada.ca Are these character limitations from DataStream or the Hub? _Assigned to Santiago Botero_ -Paige Thurston

## 3. Changelog
Date of Modification | Description of Modification | Name of Person Modifying
2021-12-20 | First Upload | Danielle Swanton
2021-12-22 | Update metadata to add NESHP03 to the dataset | PT
2022-03-29 | Upload to new template, QA/QC | VS