## 1. Observations
date_time | site_id | latitude | longitude | notes | weather_and_notes | weather_and_notes_units | water_temperature | water_temperature_units | air_temperature | air_temperature_units | conductivity | conductivity_units | turbidity | turbidity_units | total_coliforms | total_coliforms_units | fecal_coliforms | fecal_coliforms_units | gauge | gauge_units | discharge | discharge_units | falls_observation | falls_observation_units | creek_observation | creek_observation_units | water_hub_qa_qc
2009-04-30 14:23 | arvid_culvert | 49.5183 | -117.6071 | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.315 | flume unit | N/A | metres3 per second | flowing | observation | not flowing on surface | observation | N/A
2009-04-30 14:30 | arvid_gauge | N/A | N/A | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing | observation | N/A
2009-05-01 15:29 | arvid_culvert | 49.5183 | -117.6071 | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.02 | flume unit | 0 | metres3 per second | flowing | observation | not flowing | observation | N/A
2009-05-01 15:36 | arvid_gauge | N/A | N/A | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - volume minimal | observation | N/A
2009-05-03 09:49 | arvid_culvert | 49.5183 | -117.6071 | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.44 | flume unit | 0.163 | metres3 per second | flowing | observation | low volume | observation | N/A
2009-05-03 09:56 | arvid_gauge | N/A | N/A | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - good volume | observation | N/A
2009-05-04 11:51 | arvid_culvert | 49.5183 | -117.6071 | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | 19.2 | microSiemens per centimetre | 0.15 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.455 | flume unit | 0.187 | metres3 per second | flowing | observation | good volume | observation | N/A
2009-05-04 11:58 | arvid_gauge | N/A | N/A | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - good volume | observation | N/A
2009-05-07 15:17 | arvid_culvert | 49.5183 | -117.6071 | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.425 | flume unit | 0.142 | metres3 per second | flowing | observation | METERED CREEK | observation | N/A
2009-05-07 15:24 | arvid_gauge | N/A | N/A | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - good volume | observation | N/A
2009-05-10 13:04 | arvid_culvert | 49.5183 | -117.6071 | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.415 | flume unit | 0.128 | metres3 per second | flowing | observation | low volume | observation | N/A
2009-05-10 13:11 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 5.8 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - good volume | observation | N/A
2009-05-12 15:55 | arvid_culvert | 49.5183 | -117.6071 | N/A | overcast, cool; had been raining | observation | N/A | degrees Celsius | N/A | degrees Celsius | 18.7 | microSiemens per centimetre | 0.1 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.485 | flume unit | 0.243 | metres3 per second | flowing | observation | full width | observation | N/A
2009-05-12 16:09 | arvid_gauge | N/A | N/A | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - good volume | observation | N/A
2009-05-15 13:00 | arvid_culvert | 49.5183 | -117.6071 | N/A | sunny, mild | observation | N/A | degrees Celsius | N/A | degrees Celsius | 19.7 | microSiemens per centimetre | 0.1 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.435 | flume unit | 0.156 | metres3 per second | flowing | observation | barely full | observation | N/A
2009-05-15 13:14 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 5.5 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - fair volume | observation | N/A
2009-05-16 18:57 | arvid_culvert | 49.5183 | -117.6071 | N/A | cloudy, mild | observation | N/A | degrees Celsius | N/A | degrees Celsius | 19.3 | microSiemens per centimetre | 0.15 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.44 | flume unit | 0.163 | metres3 per second | flowing | observation | barely full | observation | N/A
2009-05-16 19:11 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 5.3 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - fair volume | observation | N/A
2009-05-18 16:28 | arvid_culvert | 49.5183 | -117.6071 | N/A | cloudy, warm | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.575 | flume unit | 0.488 | metres3 per second | flowing strongly | observation | full width | observation | N/A
2009-05-18 16:35 | arvid_gauge | N/A | N/A | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - large volume | observation | N/A
2009-05-19 09:18 | arvid_culvert | 49.5183 | -117.6071 | N/A | cool, intermittent rain showers; had rained over night | observation | N/A | degrees Celsius | N/A | degrees Celsius | 17.2 | microSiemens per centimetre | 0.2 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.66 | flume unit | 0.859 | metres3 per second | flowing strongly | observation | large volume, white water | observation | N/A
2009-05-19 09:25 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 5.5 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - large volume, white water | observation | N/A
2009-05-20 | arvid_culvert | 49.5183 | -117.6071 | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.58 | flume unit | 0.506 | metres3 per second | N/A | observation | METERED CREEK | observation | N/A
2009-05-21 09:16 | arvid_culvert | 49.5183 | -117.6071 | N/A | sunny, warm | observation | N/A | degrees Celsius | N/A | degrees Celsius | 17.8 | microSiemens per centimetre | 0.1 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.46 | flume unit | 0.196 | metres3 per second | flowing strongly | observation | full width, large volume, some white water | observation | N/A
2009-05-21 09:23 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 4.2 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - large volume, white water | observation | N/A
2009-05-22 12:17 | arvid_culvert | 49.5183 | -117.6071 | N/A | sunny, warm | observation | N/A | degrees Celsius | 21 | degrees Celsius | 17.3 | microSiemens per centimetre | 0.1 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.475 | flume unit | 0.223 | metres3 per second | flowing strongly | observation | full width, large volume, some white water | observation | N/A
2009-05-22 12:18 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 5.7 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - large volume, white water | observation | N/A
2009-05-24 | arvid_culvert | 49.5183 | -117.6071 | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | 16.4 | microSiemens per centimetre | 0.1 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A
2009-05-25 | arvid_culvert | 49.5183 | -117.6071 | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | 16.2 | microSiemens per centimetre | 0.1 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A
2009-05-27 | arvid_culvert | 49.5183 | -117.6071 | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.515 | flume unit | 0.647 | metres3 per second | N/A | observation | METERED CREEK& BRANCH CUT OFF | observation | N/A
2009-05-27 05:50 | arvid_culvert | 49.5183 | -117.6071 | N/A | Cloudy | observation | N/A | degrees Celsius | 19 | degrees Celsius | 16.3 | microSiemens per centimetre | 0.1 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.48 | flume unit | 0.485 | metres3 per second | N/A | observation | N/A | observation | N/A
2009-05-29 16:17 | arvid_culvert | 49.5183 | -117.6071 | N/A | sunny, warm | observation | N/A | degrees Celsius | 31 | degrees Celsius | 15.2 | microSiemens per centimetre | 0.15 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.455 | flume unit | 0.39 | metres3 per second | flowing strongly | observation | full width, large volume, 3/4 white water | observation | N/A
2009-05-29 16:18 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 7.3 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - large volume, white water | observation | N/A
2009-05-30 13:05 | arvid_culvert | 49.5183 | -117.6071 | N/A | sunny, warm | observation | N/A | degrees Celsius | 28.5 | degrees Celsius | 15 | microSiemens per centimetre | 0.15 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.45 | flume unit | 0.373 | metres3 per second | flowing strongly | observation | full width, large volume, 3/4 white water | observation | N/A
2009-05-30 13:13 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 7.2 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - large volume, white water | observation | N/A
2009-06-03 10:50 | arvid_culvert | 49.5183 | -117.6071 | N/A | sunny, warm | observation | N/A | degrees Celsius | 23 | degrees Celsius | 15.4 | microSiemens per centimetre | 0.25 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.4 | flume unit | 0.23 | metres3 per second | flowing strongly, < peak | observation | full width, good volume, some white water | observation | N/A
2009-06-03 10:57 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 5.1 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - good volume, white water | observation | N/A
2009-06-06 10:36 | arvid_culvert | 49.5183 | -117.6071 | N/A | sunny, warm | observation | N/A | degrees Celsius | 23 | degrees Celsius | 15.8 | microSiemens per centimetre | 0.15 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.39 | flume unit | 0.207 | metres3 per second | flowing strongly, < peak | observation | full width, good volume, some white water | observation | N/A
2009-06-06 10:43 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 7 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - good volume, white water | observation | N/A
2009-06-07 10:38 | arvid_culvert | 49.5183 | -117.6071 | N/A | sunny, warm | observation | N/A | degrees Celsius | 23 | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.37 | flume unit | 0.167 | metres3 per second | flowing strongly, < peak | observation | full width, good volume, some white water | observation | N/A
2009-06-07 10:46 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 6.4 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - good volume, white water | observation | N/A
2009-06-09 10:43 | arvid_culvert | 49.5183 | -117.6071 | N/A | cloudy, cool; had rained in morning | observation | N/A | degrees Celsius | 15.8 | degrees Celsius | 16.9 | microSiemens per centimetre | 0.2 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.36 | flume unit | 0.149 | metres3 per second | flowing | observation | full width, good volume, some white water | observation | N/A
2009-06-09 10:50 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 6.4 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - good volume, white water | observation | N/A
2009-06-11 19:15 | arvid_culvert | 49.5183 | -117.6071 | N/A | sunny, warm | observation | N/A | degrees Celsius | 21.5 | degrees Celsius | 16.6 | microSiemens per centimetre | 0.15 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.36 | flume unit | 0.149 | metres3 per second | flowing | observation | full width, good volume, some white water | observation | N/A
2009-06-11 19:22 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 6.4 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - less volume, white water | observation | N/A
2009-06-13 11:26 | arvid_culvert | 49.5183 | -117.6071 | N/A | sunny, warm | observation | N/A | degrees Celsius | 26.4 | degrees Celsius | 16.8 | microSiemens per centimetre | 0.2 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.35 | flume unit | 0.133 | metres3 per second | flowing | observation | full width, good volume, some white water | observation | N/A
2009-06-13 11:32 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 6.4 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - less volume, white water | observation | N/A
2009-06-15 11:58 | arvid_culvert | 49.5183 | -117.6071 | N/A | partly cloudy; heavy rain over night | observation | N/A | degrees Celsius | 25.3 | degrees Celsius | 16.5 | microSiemens per centimetre | 0.15 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.38 | flume unit | 0.186 | metres3 per second | flowing | observation | full width, good volume, some white water | observation | N/A
2009-06-15 12:05 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 6.4 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - good volume, white water | observation | N/A
2009-06-19 15:25 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 9 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - less volume | observation | N/A
2009-06-19 15:33 | arvid_culvert | 49.5183 | -117.6071 | N/A | overcast, intemittent showers | observation | N/A | degrees Celsius | 15 | degrees Celsius | 17.4 | microSiemens per centimetre | 0.1 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.328 | flume unit | 0.102 | metres3 per second | flowing | observation | 1/2 full width, low volume | observation | N/A
2009-06-23 16:39 | arvid_culvert | 49.5183 | -117.6071 | N/A | overcast | observation | N/A | degrees Celsius | 19.9 | degrees Celsius | 17.2 | microSiemens per centimetre | 0.1 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.355 | flume unit | 0.141 | metres3 per second | flowing | observation | full width | observation | N/A
2009-06-23 16:45 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 9.1 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - good volume, white water | observation | N/A
2009-06-27 15:31 | arvid_culvert | 49.5183 | -117.6071 | N/A | sunny, warm | observation | N/A | degrees Celsius | 26.1 | degrees Celsius | 18.9 | microSiemens per centimetre | 0.15 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.303 | flume unit | 0.074 | metres3 per second | flowing | observation | dry | observation | N/A
2009-06-27 15:39 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 10.3 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | flowing - low volume | observation | N/A
2009-06-29 13:20 | arvid_culvert | 49.5183 | -117.6071 | N/A | sunny, warm | observation | N/A | degrees Celsius | 26.1 | degrees Celsius | 19.3 | microSiemens per centimetre | 0.15 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | 0.21 | flume unit | 0.016 | metres3 per second | flowing - a thin thread | observation | dry | observation | N/A
2009-06-29 13:48 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 12.4 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | trickling - dry below gauge pool | observation | N/A
2009-07-07 | arvid_culvert | 49.5183 | -117.6071 | N/A | Collected by J. Yeow above gauge | observation | N/A | degrees Celsius | N/A | degrees Celsius | 20.8 | microSiemens per centimetre | 0.15 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A
2009-07-07 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 11.5 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A
2009-07-09 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 9.1 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A
2009-07-09 12:00 | arvid_culvert | 49.5183 | -117.6071 | N/A | Collected near gauge site | observation | N/A | degrees Celsius | N/A | degrees Celsius | 20.3 | microSiemens per centimetre | 0.15 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A
2009-07-15 | arvid_culvert | 49.5183 | -117.6071 | N/A | Collected by J. Yeow above gauge | observation | N/A | degrees Celsius | N/A | degrees Celsius | 20.7 | microSiemens per centimetre | 0.2 | NTU | 3 | CFU per 100 mL | >300 | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | Oddly high fecal_coliform value. Originally gt 300.
2009-07-15 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 12 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A
2009-07-22 | arvid_culvert | 49.5183 | -117.6071 | N/A | Collected by J. Yeow above gauge | observation | N/A | degrees Celsius | N/A | degrees Celsius | 23.4 | microSiemens per centimetre | 0.2 | NTU | 0 | CFU per 100 mL | 6 | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A
2009-07-22 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 11 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A
2009-08-06 | arvid_culvert | 49.5183 | -117.6071 | N/A | Collected by J. Yeow below creek near Burton Well | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | 0 | CFU per 100 mL | 0 | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A
2009-08-06 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 8 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A
2009-08-13 | arvid_culvert | 49.5183 | -117.6071 | N/A | Collected by J. Yeow below creek near Burton Well | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | 0 | CFU per 100 mL | 76 | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A
2009-08-13 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 7.9 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A
2009-08-14 | arvid_culvert | 49.5183 | -117.6071 | N/A | N/A | observation | N/A | degrees Celsius | N/A | degrees Celsius | 27.7 | microSiemens per centimetre | 0.2 | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A
2009-08-18 | arvid_culvert | 49.5183 | -117.6071 | N/A | Collected by J. Yeow below creek near Burton Well | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | 0 | CFU per 100 mL | 11 | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A
2009-08-18 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 8 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A
2009-09-24 | arvid_gauge | N/A | N/A | N/A | Collected by J. Yeow below creek near Burton Well | observation | N/A | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | 0 | CFU per 100 mL | 36 | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A
2009-09-24 | arvid_gauge | N/A | N/A | N/A | N/A | observation | 8 | degrees Celsius | N/A | degrees Celsius | N/A | microSiemens per centimetre | N/A | NTU | N/A | CFU per 100 mL | N/A | CFU per 100 mL | N/A | flume unit | N/A | metres3 per second | N/A | observation | N/A | observation | N/A

## 2. Metadata
Site ID | arvid_culvert | arvid_gauge
Location/Site Name | Arvid Creek, Culvert Location | Arvid Creek, Gauge Location
Waterbody Type | Streams | Streams
Waterbody | Arvid Creek | Arvid Creek
Site Latitude (decimal degrees) | 49.5183 | N/A
Site Longitude (decimal degrees) | -117.6071 | N/A
Coordinate System | WGS84 | WGS84
Site Elevation (masl) | 582 | Not specified
Measurement Interval | Varied | Varied
Site Notes | Coordinates approximate, exact site locations not known, did not include data from third site called "Sample Location" as this information was unclear and of limited detail | N/A
Site Photos in Dataset | No
Photo Resource Name | N/A
Parameter 1 | weather_and_notes
Unit of Measurement | observation
Instrument Type | N/A
Instrument Manufacturer | N/A
Instrument Model | N/A
Serial Number | N/A
Range | N/A
Accuracy | N/A
Resolution | N/A
Calibration Notes | N/A
Time Zone | N/A
Notes on Methods | N/A
Parameter 2 | water_temperature
Unit of Measurement | degrees Celsius
Instrument Type | Unknown
Instrument Manufacturer | Not specified
Instrument Model | Not specified
Serial Number | Not specified
Range | Not specified
Accuracy | Not specified
Resolution | Not specified
Calibration Notes | Not specified
Time Zone | Not specified
Notes on Methods | Not specified
Parameter 3 | air_temperature
Unit of Measurement | degrees Celsius
Instrument Type | Unknown
Instrument Manufacturer | Not specified
Instrument Model | Not specified
Serial Number | Not specified
Range | Not specified
Accuracy | Not specified
Resolution | Not specified
Calibration Notes | Not specified
Time Zone | Not specified
Notes on Methods | Called "Ambient Temperature" in original file
Parameter 4 | conductivity
Unit of Measurement | microSiemens per centimetre
Instrument Type | Unknown
Instrument Manufacturer | Not specified
Instrument Model | Not specified
Serial Number | Not specified
Range | Not specified
Accuracy | Not specified
Resolution | Not specified
Calibration Notes | Not specified
Time Zone | Not specified
Notes on Methods | Not specified
Parameter 5 | turbidity
Unit of Measurement | NTU
Instrument Type | Unknown
Instrument Manufacturer | Not specified
Instrument Model | Not specified
Serial Number | Not specified
Range | Not specified
Accuracy | Not specified
Resolution | Not specified
Calibration Notes | Not specified
Time Zone | Not specified
Notes on Methods | Not specified
Parameter 6 | total_coliforms
Unit of Measurement | CFU per 100 mL
Instrument Type | Unknown
Instrument Manufacturer | Not specified
Instrument Model | Not specified
Serial Number | Not specified
Range | Not specified
Accuracy | Not specified
Resolution | Not specified
Calibration Notes | Not specified
Time Zone | Not specified
Notes on Methods | Not specified
Parameter 7 | fecal_coliforms
Unit of Measurement | CFU per 100 mL
Instrument Type | Unknown
Instrument Manufacturer | Not specified
Instrument Model | Not specified
Serial Number | Not specified
Range | Not specified
Accuracy | Not specified
Resolution | Not specified
Calibration Notes | Not specified
Time Zone | Not specified
Notes on Methods | 7/15/2009 measurement states "gt 300" - total germs?
Parameter 8 | gauge
Unit of Measurement | flume unit
Instrument Type | Unknown
Instrument Manufacturer | Not specified
Instrument Model | Not specified
Serial Number | Not specified
Range | Not specified
Accuracy | Not specified
Resolution | Not specified
Calibration Notes | Not specified
Time Zone | Not specified
Notes on Methods | Not specified
Parameter 9 | discharge
Unit of Measurement | metres3 per second
Instrument Type | Unknown
Instrument Manufacturer | Not specified
Instrument Model | Not specified
Serial Number | Not specified
Range | Not specified
Accuracy | Not specified
Resolution | Not specified
Calibration Notes | Not specified
Time Zone | Not specified
Notes on Methods | Not specified
Parameter 10 | falls_observation
Unit of Measurement | observation
Instrument Type | N/A
Instrument Manufacturer | Not specified
Instrument Model | Not specified
Serial Number | Not specified
Range | Not specified
Accuracy | Not specified
Resolution | Not specified
Calibration Notes | Not specified
Time Zone | Not specified
Notes on Methods | Not specified
Parameter 11 | creek_observation
Unit of Measurement | observation
Instrument Type | N/A
Instrument Manufacturer | Not specified
Instrument Model | Not specified
Serial Number | Not specified
Range | Not specified
Accuracy | Not specified
Resolution | Not specified
Calibration Notes | Not specified
Time Zone | Not specified
Notes on Methods | Not specified

## 2.b Metadata Definitions
Metadata Definitions
| Definition | Format | Example
Site ID | Unique name/code used to identify the monitoring site (assigned by monitoring organization). | Text | SAH_01
Waterbody Type | The type of waterbody the measurements were taken from | Text | Stream
Waterbody | Name of the waterbody where monitoring took place. | Text | Slocan Lake
Location/Site Name | Geographically descriptive name of the monitoring site. | Text | Slocan River at Passmore Bridge
Location Latitude | Latitude. Decimal degrees. | Decimal degrees | 51.0486
Location Longitude | Longitude. Decimal degrees. | Decimal degrees | -114.0708
Location Coordinate System | The datum that your latitude and longitude coordinates are based upon. | Pick From List | WGS84
Elevation | The elevation of your monitoring location (metres above sea level) | Number | 800
Measurement Interval | The timescale that measurements are being taken, ex. hourly, every 8 hours, weekly, monthly | Text | Hourly
Site Photos in Dataset | Whether site photos will be included as a separate zipfile as part of the dataset this resource contains | Text | Yes
Photo Resource Name | Name of the Resource that will contain photos relevant to this resource/site | Text | Monitoring Station Photos from Some Creek
Parameter | Type of measurement being taken. Must be expressed without spaces or symbols, lower case, use underscores as needed. | Pick From List | Temperature
Unit of Measurement | Unit of measurement for the parameter referred to above. Do not include symbols. | Pick From List | Degrees Celsius
Instrument Type | The general category of instrument being used | Pick From List | Data Logger
Instrument Manufacturer | Manufacturer of instrument used to measure this parameter | Text | YSI
Instrument Model | Model of instrument used to measure this parameter | Text | 6050020 Pro20
Serial Number | Serial number of the instrument used to measure this parameter, if applicable | Text | 20413527
Accuracy | Accuracy of the instrument used to measure this parameter (can be found on manufacturer website), this must be entered in plain text without symbols | Text | Plus or minus 2 degrees C
Range | Range of the instrument used to measure this parameter (can be found on manufacturer website) | Text | -5 to 70 degrees C (23 to 158 degrees F)
Resolution | Resolution of the instrument used to measure this parameter (can be found on manufacturer website) | Text | 0.1 degrees C
Calibration Notes: | If applicable: How is this instrument calibrated? How frequently is this performed? | Text | Calibrated monthly using a standard solution, a calibration log is available on request
Time Zone | The time zone used to record time of measurements, either local time at site, or the time zone that your instrument uses | Pick From List | PST
Notes on Methods: | Details regarding methods used to measure this parameter | Text | Temperature measurements were taken 30cm from water's edge at a depth of 10cm
Measurement Intervals | Parameter Selection Choices | Unit Choices | Instrument Types | Time Zones | Coordinate Systems
Fifteen Minutes | air_temperature | atm | Analog Thermometer | GMT | WGS84
Thirty Minutes | alkalinity | centimetres | Bench Meter | GMT-6 | NAD27
Hourly | atmospheric_pressure | CFU per 100 mL | Climate Station | GMT-7 | NAD83
Four Hours | average_air_temperature | degrees Celsius | Data Logger | GMT-8 | AMSMA
Six Hours | average_water_temperature | degrees Fahrenheit | Hach Kit | MDT | ASTRO
Eight Hours | battery_charge | kilometres per hour | pH meter | MST | GUAM
Twelve Hours | calcium_total | hectopascal | Observation | MT | HARN
Daily | chlorine | metres | Portable Photometer | PDT | JHNSN
Weekly | clarity | metres above sea level | Portable Meter | PST | NAD27
Biweekly | cloud_cover | metres below ground surface | Portable Multiparameter Meter | PT | NAD83
Monthly | conductivity | metres per second | Rain Gauge | UTC | OLDHI
Single Point Measurement | depth | metres3 per second | Secchi Disk | UTC-6 | OTHER
As Needed | discharge | milligrams per litre | Staff Gauge | UTC-7 | PR
Varied | dissolved_oxygen | millimetres | Test Strips | UTC-8 | SGEOR
| e-coli | micromhos per centimetre | Unknown | N/A | SLAWR
| fecal_coliforms | microSiemens per centimetre | Water Test Kit | Unknown | SPAUL
| flow | mmHg | N/A |  | UNKWN
| hardness | most probable number per 100 mL |  |  | WAKE
| maximum_air_temperature | NTU |  |  | WGS72
| maxiumum_water_temperature | N/A |  |  | WGS84
| minimum_air_temperature | observation |  |  | NAD83 / BC Albers
| minimum_water_temperature | Pa |  |  | NAD83/ UTM Zone 11
| odour | parts per million |  |  | NAD83/ UTM Zone 12
| pH | percent |  |  | Not specified
| precipitation | pH units
| snow_density | µg per litre
| snow_depth | unknown
| snow_water_equivalent | volts
specific_conductivity
surface_conditions
suspended_sediment
temperature_at_analyis
total_coliforms
total_dissolved_solids
total_suspended_solids
trophic_status
turbidity
velocity
water_clarity_secchi
water_colour
water_hardness
water_level
water_temperature
water_temperature_historic
weather_and_notes

## 3. Changelog
Date of Modification | Description of Modification | Name of Person Modifying
2022-04-14 | Upload to new template, QAQC | MFA